{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["주간전력수급계획"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"주간전력수급계획","index":0,"n_rows":154,"n_cols":11,"rows_kept":154,"cut":false,"hidden":false,"merged":[[0,1,0,10],[1,8,1,10],[1,1,1,7],[3,5,3,6],[3,7,3,8]]}
[null,"주  간  전  력  수  급  계  획"]
[null,"ㅇ 대상기간 : 6.1(토) ~ 6.9(일)",{"$nulls":6},"수급계획팀 강민구 (061-330-8619)"]
[]
[null,"회원사","연료원","발전기명","설비용량[MW]","시작일",null,"종료일",null,"일수","비고"]
[null,"한국수력원자력(주)","수력","의암#1",24,"2024-06-03","10:00:00","2024-06-03","12:00:00",{"$f":"H5-F5+1","v":1}]
[null,"한국수력원자력(주)","수력","의암#2",24,"2024-06-03","10:00:00","2024-06-03","12:00:00",{"$f":"H6-F6+1","v":1}]
[null,"한국수력원자력(주)","수력","춘천#2",31.14,"2024-03-11","09:00:00","2024-07-09","00:00:00",{"$f":"H7-F7+1","v":121}]
[null,"한국수력원자력(주)","수력","팔당#4",30,"2024-06-03","09:00:00","2024-06-11","00:00:00",{"$f":"H8-F8+1","v":9}]
[null,"한국수력원자력(주)","수력","화천#2",27,"2024-06-03","09:00:00","2024-06-03","23:00:00",{"$f":"H9-F9+1","v":1}]
[null,"한국수력원자력(주)","수력","화천#4",27,"2024-03-18","00:00:00","2024-06-25","00:00:00",{"$f":"H10-F10+1","v":100}]
[null,"한국수자원공사","수력","소양강#2",100,"2024-06-05","13:00:00","2024-06-05","17:00:00",{"$f":"H11-F11+1","v":1}]
[null,"한국수자원공사","수력","안동#1",45,"2024-03-18","00:00:00","2024-06-14","23:59:00",{"$f":"H12-F12+1","v":89}]
[null,"한국수자원공사","수력","합천#2",50,"2024-03-05","09:00:00","2024-06-21","18:00:00",{"$f":"H13-F13+1","v":109}]
[null,"한국수력원자력(주)","양수","무주#1",300,"2024-04-15","00:00:00","2024-09-14","00:00:00",{"$f":"H14-F14+1","v":153}]
[null,"한국수력원자력(주)","양수","무주#2",300,"2024-06-03","14:00:00","2024-06-03","18:00:00",{"$f":"H15-F15+1","v":1}]
[null,"한국수력원자력(주)","양수","산청#1",350,"2024-05-30","00:00:00","2024-08-25","00:00:00",{"$f":"H16-F16+1","v":88}]
[null,"한국수력원자력(주)","양수","양양#2",250,"2024-05-25","00:00:00","2024-06-01","00:00:00",{"$f":"H17-F17+1","v":8}]
[null,"한국수력원자력(주)","양수","양양#4",250,"2024-06-03","09:00:00","2025-01-22","00:00:00",{"$f":"H18-F18+1","v":234}]
[null,"한국수력원자력(주)","양수","예천#2",400,"2024-05-29","08:00:00","2024-07-21","20:00:00",{"$f":"H19-F19+1","v":54}]
[null,"한국수력원자력(주)","양수","청평양수#1",200,"2024-05-07","00:00:00","2024-08-05","00:00:00",{"$f":"H20-F20+1","v":91}]
[null,"한국수력원자력(주)","양수","청평양수#2",200,"2024-06-03","00:00:00","2024-06-06","00:00:00",{"$f":"H21-F21+1","v":4}]
[null,"씨지앤대산전력 주식회사","유류","대산ST#1",91,"2024-06-09","09:00:00","2024-06-23","18:00:00",{"$f":"H22-F22+1","v":15}]
[null,"한국남부발전(주)","유류","남제주#2",100,"2024-04-28","00:00:00","2024-06-17","00:00:00",{"$f":"H23-F23+1","v":51}]
[null,"한국중부발전(주)","유류","제주기력#3",75,"2024-04-23","00:00:00","2024-07-01","00:00:00",{"$f":"H24-F24+1","v":70}]
[null,"씨지앤대산전력 주식회사","유류","대산GT#1",93.7,"2024-06-09","09:00:00","2024-06-23","18:00:00",{"$f":"H25-F25+1","v":15}]
[null,"씨지앤대산전력 주식회사","유류","대산GT#2",93.7,"2024-06-09","09:00:00","2024-06-23","18:00:00",{"$f":"H26-F26+1","v":15}]
[null,"씨지앤대산전력 주식회사","유류","대산GT#3",93.7,"2024-06-09","09:00:00","2024-06-23","18:00:00",{"$f":"H27-F27+1","v":15}]
[null,"씨지앤대산전력 주식회사","유류","대산GT#4",93.7,"2024-06-09","09:00:00","2024-06-23","18:00:00",{"$f":"H28-F28+1","v":15}]
[null,"(주)지에스동해전력","유연탄","북평#2",595,"2024-04-26","00:00:00","2024-06-15","00:00:00",{"$f":"H29-F29+1","v":51}]
[null,"강릉에코파워(주)","유연탄","강릉안인#1",1040,"2024-04-03","00:00:00","2024-07-05","23:59:00",{"$f":"H30-F30+1","v":94}]
[null,"고성그린파워 주식회사","유연탄","고성#2",1040,"2024-05-23","00:00:00","2024-06-08","00:00:00",{"$f":"H31-F31+1","v":17}]
[null,"한국남동발전(주)","유연탄","삼천포#3",560,"2024-06-03","00:00:00","2024-07-09","00:00:00",{"$f":"H32-F32+1","v":37}]
[null,"한국남동발전(주)","유연탄","삼천포#5",500,"2024-04-17","00:00:00","2024-06-30","00:00:00",{"$f":"H33-F33+1","v":75}]
[null,"한국남동발전(주)","유연탄","여수#2",328.6,"2024-05-13","04:00:00","2024-06-26","04:00:00",{"$f":"H34-F34+1","v":45}]
[null,"한국남동발전(주)","유연탄","영흥#1",800,"2024-01-01","00:00:00","2025-07-01","00:00:00",{"$f":"H35-F35+1","v":548}]
[null,"한국남동발전(주)","유연탄","영흥#2",800,"2024-01-01","00:00:00","2025-07-01","00:00:00",{"$f":"H36-F36+1","v":548}]
[null,"한국남부발전(주)","유연탄","삼척그린#1",1022,"2024-04-01","00:00:00","2024-07-20","00:00:00",{"$f":"H37-F37+1","v":111}]
[null,"한국남부발전(주)","유연탄","하동#3",500,"2024-03-06","00:00:00","2024-06-01","00:00:00",{"$f":"H38-F38+1","v":88}]
[null,"한국남부발전(주)","유연탄","하동#4",500,"2024-05-13","00:00:00","2024-06-15","00:00:00",{"$f":"H39-F39+1","v":34}]
[null,"한국남부발전(주)","유연탄","하동#5",500,"2024-05-31","00:00:00","2024-06-04","00:00:00",{"$f":"H40-F40+1","v":5}]
[null,"한국동서발전(주)","유연탄","당진#2",500,"2023-12-01","00:00:00","2025-04-01","00:00:00",{"$f":"H41-F41+1","v":488}]
[null,"한국동서발전(주)","유연탄","당진#3",500,"2023-09-08","00:00:00","2025-01-09","00:00:00",{"$f":"H42-F42+1","v":490}]
[null,"한국동서발전(주)","유연탄","당진#4",500,"2024-04-29","00:00:00","2024-06-14","00:00:00",{"$f":"H43-F43+1","v":47}]
[null,"한국동서발전(주)","유연탄","당진#5",500,"2024-04-22","00:00:00","2024-06-29","00:00:00",{"$f":"H44-F44+1","v":69}]
[null,"한국동서발전(주)","유연탄","당진#6",500,"2024-04-29","00:00:00","2024-06-01","00:00:00",{"$f":"H45-F45+1","v":34}]
[null,"한국동서발전(주)","유연탄","당진#6",500,"2024-06-03","00:00:00","2024-06-10","00:00:00",{"$f":"H46-F46+1","v":8}]
[null,"한국동서발전(주)","유연탄","당진#7",500,"2024-06-05","00:00:00","2024-06-10","00:00:00",{"$f":"H47-F47+1","v":6}]
[null,"한국동서발전(주)","유연탄","당진#9",1020,"2024-02-26","00:00:00","2024-06-20","00:00:00",{"$f":"H48-F48+1","v":116}]
[null,"한국서부발전(주)","유연탄","태안#2",500,"2024-05-25","00:00:00","2024-07-08","00:00:00",{"$f":"H49-F49+1","v":45}]
[null,"한국서부발전(주)","유연탄","태안#5",500,"2024-06-05","09:00:00","2024-06-10","00:00:00",{"$f":"H50-F50+1","v":6}]
[null,"한국서부발전(주)","유연탄","태안#6",500,"2024-05-30","09:00:00","2024-06-06","00:00:00",{"$f":"H51-F51+1","v":8}]
[null,"한국서부발전(주)","유연탄","태안#7",500,"2024-03-18","00:00:00","2024-06-21","00:00:00",{"$f":"H52-F52+1","v":96}]
[null,"한국서부발전(주)","유연탄","태안#9",1050,"2024-03-09","00:00:00","2024-06-11","00:00:00",{"$f":"H53-F53+1","v":95}]
[null,"한국중부발전(주)","유연탄","보령#4",500,"2024-04-01","00:00:00","2024-06-10","00:00:00",{"$f":"H54-F54+1","v":71}]
[null,"한국중부발전(주)","유연탄","보령#7",500,"2024-05-31","00:00:00","2024-06-01","00:00:00",{"$f":"H55-F55+1","v":2}]
[null,"한국중부발전(주)","유연탄","보령#8",500,"2024-06-01","00:00:00","2024-06-10","00:00:00",{"$f":"H56-F56+1","v":10}]
[null,"한국중부발전(주)","유연탄","신보령#1",1019.029,"2024-05-30","00:00:00","2024-06-08","00:00:00",{"$f":"H57-F57+1","v":10}]
[null,"한국중부발전(주)","유연탄","신서천#1",1018,"2024-04-17","00:00:00","2024-06-22","00:00:00",{"$f":"H58-F58+1","v":67}]
[null,"한국수력원자력(주)","원자력","고리#2",650,"2023-04-08","00:00:00","2025-07-11","00:00:00",{"$f":"H59-F59+1","v":826}]
[null,"한국수력원자력(주)","원자력","신고리#2",1000,"2024-05-02","00:00:00","2024-06-20","23:59:00",{"$f":"H60-F60+1","v":50}]
[null,"한국수력원자력(주)","원자력","신월성#1",1000,"2024-06-07","00:00:00","2024-08-05","23:59:00",{"$f":"H61-F61+1","v":60}]
[null,"한국수력원자력(주)","원자력","월성#2",700,"2024-05-28","00:00:00","2024-07-29","00:00:00",{"$f":"H62-F62+1","v":63}]
[null,"한국수력원자력(주)","원자력","월성#3",700,"2024-05-01","09:00:00","2024-09-13","23:59:00",{"$f":"H63-F63+1","v":136}]
[null,"한국수력원자력(주)","원자력","월성#4",700,"2024-04-20","00:00:00","2024-06-28","23:59:00",{"$f":"H64-F64+1","v":70}]
[null,"한국수력원자력(주)","원자력","한빛#1",950,"2023-12-17","00:00:00","2024-07-05","23:59:00",{"$f":"H65-F65+1","v":202}]
[null,"한국수력원자력(주)","원자력","한빛#4",1000,"2024-04-21","00:00:00","2024-06-18","00:00:00",{"$f":"H66-F66+1","v":59}]
[null,"GS EPS(주)","LNG","GS당진GT#4",174.5,"2024-04-01","00:00:00","2024-06-25","23:59:00",{"$f":"H67-F67+1","v":86}]
[null,"GS EPS(주)","LNG","GS당진GT#7",269.8,"2024-06-08","00:00:00","2024-07-18","23:59:00",{"$f":"H68-F68+1","v":41}]
[null,"신평택발전(주)","LNG","신평택GT#1",290.2,"2024-05-27","00:00:00","2024-06-25","00:00:00",{"$f":"H69-F69+1","v":30}]
[null,"신평택발전(주)","LNG","신평택GT#2",290.2,"2024-05-27","00:00:00","2024-06-25","00:00:00",{"$f":"H70-F70+1","v":30}]
[null,"신평택발전(주)","LNG","신평택ST#1",282.89999999999998,"2024-05-27","00:00:00","2024-06-25","00:00:00",{"$f":"H71-F71+1","v":30}]
[null,"씨지앤율촌전력(주)","LNG","율촌GT#4",289,"2024-06-01","00:00:00","2024-06-28","00:00:00",{"$f":"H72-F72+1","v":28}]
[null,"안산도시개발(주)","LNG","안산도시개발",60,"2024-05-07","00:00:00","2024-06-01","00:00:00",{"$f":"H73-F73+1","v":26}]
[null,"여주에너지서비스 주식회사","LNG","여주복합GT#2",336.02199999999999,"2024-05-31","00:00:00","2024-06-22","00:00:00",{"$f":"H74-F74+1","v":23}]
[null,"인천공항에너지(주)","LNG","인천공항GT#2",47,"2024-06-01","09:00:00","2024-06-01","19:00:00",{"$f":"H75-F75+1","v":1}]
[null,"인천종합에너지(주)","LNG","송도GT#1",84.8,"2024-05-19","08:00:00","2024-06-09","17:00:00",{"$f":"H76-F76+1","v":22}]
[null,"인천종합에너지(주)","LNG","송도GT#2",84.8,"2024-06-01","08:00:00","2024-06-01","17:00:00",{"$f":"H77-F77+1","v":1}]
[null,"인천종합에너지(주)","LNG","송도ST#1",52.4,"2024-04-27","00:00:00","2024-06-09","17:00:00",{"$f":"H78-F78+1","v":44}]
[null,"주식회사 포스코인터내셔널","LNG","포스코GT#10",100,"2024-06-01","00:00:00","2024-06-03","00:00:00",{"$f":"H79-F79+1","v":3}]
[null,"주식회사 포스코인터내셔널","LNG","포스코GT#17",242.7,"2024-05-25","00:00:00","2024-06-21","00:00:00",{"$f":"H80-F80+1","v":28}]
[null,"주식회사 포스코인터내셔널","LNG","포스코ST#7",139.69999999999999,"2024-05-25","00:00:00","2024-06-21","00:00:00",{"$f":"H81-F81+1","v":28}]
[null,"코스포영남파워 주식회사","LNG","영남파워GT#1",292,"2024-06-01","05:00:00","2024-06-01","22:00:00",{"$f":"H82-F82+1","v":1}]
[null,"코스포영남파워 주식회사","LNG","영남파워ST#1",150.80000000000001,"2024-06-01","05:00:00","2024-06-01","22:00:00",{"$f":"H83-F83+1","v":1}]
[null,"파주에너지서비스 주식회사","LNG","파주문산GT#1",275.5,"2024-04-24","00:00:00","2024-06-02","00:00:00",{"$f":"H84-F84+1","v":40}]
[null,"파주에너지서비스 주식회사","LNG","파주문산GT#1",275.5,"2024-06-09","00:00:00","2024-06-10","00:00:00",{"$f":"H85-F85+1","v":2}]
[null,"파주에너지서비스 주식회사","LNG","파주문산GT#2",275.5,"2024-04-20","00:00:00","2024-06-06","00:00:00",{"$f":"H86-F86+1","v":48}]
[null,"파주에너지서비스 주식회사","LNG","파주문산GT#2",275.5,"2024-06-09","00:00:00","2024-06-10","00:00:00",{"$f":"H87-F87+1","v":2}]
[null,"파주에너지서비스 주식회사","LNG","파주문산ST#1",296.60000000000002,"2024-04-24","00:00:00","2024-06-02","00:00:00",{"$f":"H88-F88+1","v":40}]
[null,"파주에너지서비스 주식회사","LNG","파주문산ST#1",296.60000000000002,"2024-06-09","00:00:00","2024-06-10","00:00:00",{"$f":"H89-F89+1","v":2}]
[null,"평택에너지서비스(주)","LNG","오성GT#1",183,"2024-06-08","00:00:00","2024-06-10","00:00:00",{"$f":"H90-F90+1","v":3}]
[null,"포천파워(주)","LNG","포천GT#1",240.5,"2024-05-17","08:01:00","2024-06-02","00:00:00",{"$f":"H91-F91+1","v":17}]
[null,"포천파워(주)","LNG","포천GT#1",240.5,"2024-06-03","07:01:00","2024-06-03","21:00:00",{"$f":"H92-F92+1","v":1}]
[null,"포천파워(주)","LNG","포천GT#2",240.5,"2024-05-17","08:01:00","2024-06-02","02:00:00",{"$f":"H93-F93+1","v":17}]
[null,"포천파워(주)","LNG","포천GT#2",240.5,"2024-06-03","07:01:00","2024-06-03","21:00:00",{"$f":"H94-F94+1","v":1}]
[null,"포천파워(주)","LNG","포천GT#3",240.5,"2024-06-01","09:01:00","2024-06-03","00:00:00",{"$f":"H95-F95+1","v":3}]
[null,"포천파워(주)","LNG","포천GT#4",240.5,"2024-06-01","09:01:00","2024-06-03","00:00:00",{"$f":"H96-F96+1","v":3}]
[null,"포천파워(주)","LNG","포천ST#1",244,"2024-05-17","08:01:00","2024-06-02","00:00:00",{"$f":"H97-F97+1","v":17}]
[null,"포천파워(주)","LNG","포천ST#1",244,"2024-06-03","07:01:00","2024-06-03","21:00:00",{"$f":"H98-F98+1","v":1}]
[null,"포천파워(주)","LNG","포천ST#2",244,"2024-06-01","09:01:00","2024-06-03","00:00:00",{"$f":"H99-F99+1","v":3}]
[null,"한국남동발전(주)","LNG","분당GT#2",77.757999999999996,"2024-05-07","00:00:00","2024-06-28","00:00:00",{"$f":"H100-F100+1","v":53}]
[null,"한국남부발전(주)","LNG","남제주복합GT#1",51.057000000000002,"2024-06-03","00:00:00","2024-06-05","00:00:00",{"$f":"H101-F101+1","v":3}]
[null,"한국남부발전(주)","LNG","남제주복합GT#2",51.057000000000002,"2024-06-04","00:00:00","2024-06-06","00:00:00",{"$f":"H102-F102+1","v":3}]
[null,"한국남부발전(주)","LNG","남제주복합ST#1",56.682000000000002,"2024-06-04","00:00:00","2024-06-05","00:00:00",{"$f":"H103-F103+1","v":2}]
[null,"한국남부발전(주)","LNG","부산GT#5",150,"2024-06-03","00:00:00","2024-06-06","00:00:00",{"$f":"H104-F104+1","v":4}]
[null,"한국남부발전(주)","LNG","부산GT#6",150,"2024-06-03","00:00:00","2024-06-06","00:00:00",{"$f":"H105-F105+1","v":4}]
[null,"한국남부발전(주)","LNG","부산ST#3",150,"2024-06-03","00:00:00","2024-06-06","00:00:00",{"$f":"H106-F106+1","v":4}]
[null,"한국남부발전(주)","LNG","신인천GT#1",150,"2024-05-29","00:00:00","2024-06-22","00:00:00",{"$f":"H107-F107+1","v":25}]
[null,"한국남부발전(주)","LNG","신인천GT#2",150,"2024-06-01","00:00:00","2024-06-17","00:00:00",{"$f":"H108-F108+1","v":17}]
[null,"한국남부발전(주)","LNG","신인천ST#1",150,"2024-06-01","00:00:00","2024-06-17","00:00:00",{"$f":"H109-F109+1","v":17}]
[null,"한국동서발전(주)","LNG","울산GT#3",150,"2024-05-28","09:00:00","2024-06-03","00:00:00",{"$f":"H110-F110+1","v":7}]
[null,"한국동서발전(주)","LNG","울산GT#4",150,"2024-05-28","09:00:00","2024-06-03","00:00:00",{"$f":"H111-F111+1","v":7}]
[null,"한국동서발전(주)","LNG","울산GT#5",150,"2024-05-28","09:00:00","2024-06-03","00:00:00",{"$f":"H112-F112+1","v":7}]
[null,"한국동서발전(주)","LNG","울산GT#6",150,"2024-05-28","09:00:00","2024-06-03","00:00:00",{"$f":"H113-F113+1","v":7}]
[null,"한국동서발전(주)","LNG","울산ST#2",150,"2024-05-28","09:00:00","2024-06-03","00:00:00",{"$f":"H114-F114+1","v":7}]
[null,"한국동서발전(주)","LNG","울산ST#3",150,"2024-05-28","09:00:00","2024-06-03","00:00:00",{"$f":"H115-F115+1","v":7}]
[null,"한국동서발전(주)","LNG","일산GT#5",100,"2024-05-29","00:00:00","2024-06-22","00:00:00",{"$f":"H116-F116+1","v":25}]
[null,"한국서부발전(주)","LNG","김포GT#1",229.62,"2024-06-01","00:00:00","2024-06-03","00:00:00",{"$f":"H117-F117+1","v":3}]
[null,"한국서부발전(주)","LNG","김포ST#1",120.84,"2024-06-01","00:00:00","2024-06-03","00:00:00",{"$f":"H118-F118+1","v":3}]
[null,"한국서부발전(주)","LNG","서인천GT#2",150,"2024-06-05","00:00:00","2024-06-09","00:00:00",{"$f":"H119-F119+1","v":5}]
[null,"한국서부발전(주)","LNG","서인천GT#3",150,"2024-06-02","00:00:00","2024-06-07","00:00:00",{"$f":"H120-F120+1","v":6}]
[null,"한국서부발전(주)","LNG","서인천GT#4",150,"2024-06-02","00:00:00","2024-06-06","00:00:00",{"$f":"H121-F121+1","v":5}]
[null,"한국서부발전(주)","LNG","서인천GT#6",150,"2024-04-29","00:00:00","2024-07-02","00:00:00",{"$f":"H122-F122+1","v":65}]
[null,"한국서부발전(주)","LNG","서인천ST#2",75,"2024-06-05","00:00:00","2024-06-09","00:00:00",{"$f":"H123-F123+1","v":5}]
[null,"한국서부발전(주)","LNG","서인천ST#3",75,"2024-06-02","00:00:00","2024-06-07","00:00:00",{"$f":"H124-F124+1","v":6}]
[null,"한국서부발전(주)","LNG","서인천ST#4",75,"2024-06-02","00:00:00","2024-06-06","00:00:00",{"$f":"H125-F125+1","v":5}]
[null,"한국서부발전(주)","LNG","서인천ST#6",75,"2024-04-29","00:00:00","2024-07-02","00:00:00",{"$f":"H126-F126+1","v":65}]
[null,"한국서부발전(주)","LNG","평택#3",350,"2024-06-03","00:00:00","2024-06-10","00:00:00",{"$f":"H127-F127+1","v":8}]
[null,"한국중부발전(주)","LNG","보령GT#3",150,"2024-05-27","00:00:00","2024-06-03","13:00:00",{"$f":"H128-F128+1","v":8}]
[null,"한국중부발전(주)","LNG","보령GT#4",150,"2024-05-27","00:00:00","2024-06-03","13:00:00",{"$f":"H129-F129+1","v":8}]
[null,"한국중부발전(주)","LNG","보령GT#5",150,"2024-05-31","00:00:00","2024-06-03","13:00:00",{"$f":"H130-F130+1","v":4}]
[null,"한국중부발전(주)","LNG","보령GT#6",150,"2024-05-31","00:00:00","2024-06-03","13:00:00",{"$f":"H131-F131+1","v":4}]
[null,"한국중부발전(주)","LNG","보령ST#2",150,"2024-05-27","00:00:00","2024-06-03","13:00:00",{"$f":"H132-F132+1","v":8}]
[null,"한국중부발전(주)","LNG","보령ST#3",150,"2024-05-31","00:00:00","2024-06-03","13:00:00",{"$f":"H133-F133+1","v":4}]
[null,"한국중부발전(주)","LNG","세종GT#1",167.10400000000001,"2024-05-10","00:00:00","2024-06-24","00:00:00",{"$f":"H134-F134+1","v":46}]
[null,"한국중부발전(주)","LNG","세종GT#2",167.10400000000001,"2024-05-10","00:00:00","2024-06-24","00:00:00",{"$f":"H135-F135+1","v":46}]
[null,"한국중부발전(주)","LNG","세종ST#1",196.233,"2024-05-10","00:00:00","2024-06-24","00:00:00",{"$f":"H136-F136+1","v":46}]
[null,"한국중부발전(주)","LNG","인천GT#2",160.72900000000001,"2024-05-13","00:00:00","2024-06-03","00:00:00",{"$f":"H137-F137+1","v":22}]
[null,"한국중부발전(주)","LNG","인천GT#5",150,"2024-06-02","00:00:00","2024-06-06","00:00:00",{"$f":"H138-F138+1","v":5}]
[null,"한국중부발전(주)","LNG","인천GT#6",150,"2024-04-25","00:00:00","2024-07-02","00:00:00",{"$f":"H139-F139+1","v":69}]
[null,"한국중부발전(주)","LNG","인천ST#3",150,"2024-06-02","00:00:00","2024-06-06","00:00:00",{"$f":"H140-F140+1","v":5}]
[null,"한국지역난방공사","LNG","광교GT#1",102.58799999999999,"2024-04-29","00:00:00","2024-06-22","00:00:00",{"$f":"H141-F141+1","v":55}]
[null,"한국지역난방공사","LNG","광교ST#1",42.2,"2024-04-29","00:00:00","2024-06-22","00:00:00",{"$f":"H142-F142+1","v":55}]
[null,"한국지역난방공사","LNG","양산GT#1",78.012,"2024-05-01","00:00:00","2024-06-09","00:00:00",{"$f":"H143-F143+1","v":40}]
[null,"한국지역난방공사","LNG","양산ST#1",40.96,"2024-05-01","00:00:00","2024-06-09","00:00:00",{"$f":"H144-F144+1","v":40}]
[null,"한국지역난방공사","LNG","파주GT#1",163.4,"2024-04-24","00:00:00","2024-06-21","00:00:00",{"$f":"H145-F145+1","v":59}]
[null,"한국지역난방공사","LNG","파주GT#2",163.4,"2024-04-24","00:00:00","2024-06-21","00:00:00",{"$f":"H146-F146+1","v":59}]
[null,"한국지역난방공사","LNG","파주ST#1",188.7,"2024-04-24","00:00:00","2024-06-21","00:00:00",{"$f":"H147-F147+1","v":59}]
[null,"한국지역난방공사","LNG","판교GT#1",77.863,"2024-05-07","00:00:00","2024-06-22","00:00:00",{"$f":"H148-F148+1","v":47}]
[null,"한국지역난방공사","LNG","판교ST#1",68.450999999999993,"2024-05-07","00:00:00","2024-06-22","00:00:00",{"$f":"H149-F149+1","v":47}]
[null,"한국지역난방공사","LNG","화성GT#1",160.80000000000001,"2024-05-09","00:00:00","2024-06-01","00:00:00",{"$f":"H150-F150+1","v":24}]
[null,"한국지역난방공사","LNG","화성GT#2",160.80000000000001,"2024-05-09","00:00:00","2024-06-01","00:00:00",{"$f":"H151-F151+1","v":24}]
[null,"한국지역난방공사","LNG","화성ST#1",190.2,"2024-05-09","00:00:00","2024-06-01","00:00:00",{"$f":"H152-F152+1","v":24}]
[null,"한국서부발전(주)","IGCC","태안IGCC GT#1",210.64,"2024-04-11","00:00:00","2024-06-15","00:00:00",{"$f":"H153-F153+1","v":66}]
[null,"한국서부발전(주)","IGCC","태안IGCC ST#1",135.69,"2024-04-11","00:00:00","2024-06-15","00:00:00",{"$f":"H154-F154+1","v":66}]