{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":136,"n_cols":11,"rows_kept":136,"cut":false,"hidden":false,"merged":[[1,0,1,10],[3,0,4,0],[3,1,3,2],[3,3,3,9],[3,10,4,10]]}
[]
["1. 신에너지 및 재생에너지 개발·이용·보급 촉진법에 따른 신재생에너지 설비용량"]
[{"$nulls":10},"단위 : MW"]
["년월","신에너지",null,"재생에너지",{"$nulls":6},"합계"]
[null,"연료전지","IGCC","태양에너지","풍력","수력","해양에너지","급전가능\n재생에너지","바이오에너지","폐기물"]
["2025-11",1407.6479999999999,346.33,10664.498,2575.123,1806.66,254.5,608.779,1822.731,0,24655.300999999996]
["2025-10",1358.1479999999999,346.33,10588.050999999999,2609.123,1806.66,254.5,608.779,1822.731,0,24559.653999999995]
["2025-09",1296.348,346.33,10519.762000000001,2598.723,1806.66,254.5,608.779,1827.3310000000001,0,24420.964999999997]
["2025-08",1254.348,346.33,10414.914000000001,2499.723,1806.66,254.5,508.36599999999999,1827.5310000000002,0,24074.903999999999]
["2025-07",1254.348,346.33,10362.543,2499.723,1806.4740000000002,254.5,508.36599999999999,1827.5310000000002,0,24019.146999999997]
["2025-06",1232.1479999999999,346.33,10197.450999999999,2499.723,1806.4740000000002,254.5,510.28399999999999,1827.5310000000002,0,23831.072999999997]
["2025-05",1233.1469999999999,346.33,10079.771000000001,2457.723,1805.7240000000002,254.5,510.28399999999999,1827.5310000000002,0,23671.642]
["2025-04",1233.1469999999999,346.33,10001.242,2457.723,1805.7240000000002,254.5,516.5,1827.5310000000002,0,23599.328999999998]
["2025-03",1209.9480000000001,346.33,9851.7070000000003,2434.223,1805.7240000000002,254.5,516.5,1827.5310000000002,0,23406.095000000001]
["2025-02",1190.1479999999999,346.33,9809.3809999999994,2434.223,1805.7240000000002,254.5,394.31400000000002,1829.0710000000001,0,23220.373]
["2025-01",1178.1780000000001,346.33,9752.8880000000008,2359.223,1805.7240000000002,254.5,394.31400000000002,1829.0710000000001,0,23076.910000000003]
["2024-12",1158.3779999999999,346.33,9659.8580000000002,2359.223,1805.7240000000002,254.5,395.608,1829.0710000000001,0,22965.374000000003]
["2024-11",1139.8979999999999,346.33,9582.3140000000003,2343.623,1806.0840000000001,254.5,395.608,1829.0710000000001,0,22855.559999999998]
["2024-10",1094.6980000000001,346.33,9414.259,2247.623,1806.104,254.5,395.608,1829.0710000000001,0,22504.515000000003]
["2024-09",1074.8979999999999,346.33,9313.0169999999998,2247.623,1806.104,254.5,395.608,1828.576,0,22383.472999999998]
["2024-08",1074.8979999999999,346.33,9100.0519999999997,2247.623,1806.104,254.5,376.529,1828.576,0,22151.429]
["2024-07",1065.9880000000001,346.33,9043.1299999999992,2230.9430000000002,1806.104,254.5,377.52699999999999,1828.576,0,22069.915000000001]
["2024-06",1047.508,346.33,8983.125,2230.9430000000002,1807.8240000000001,254.5,377.52699999999999,1828.576,0,21994.35]
["2024-05",1027.7080000000001,346.33,8937.4050000000007,2226.7429999999999,1807.8240000000001,254.5,0,1829.626,0,21548.153000000002]
["2024-04",1027.588,346.33,8834.4509999999991,2226.7429999999999,1807.8240000000001,255.5,0,1829.626,0,21446.078999999998]
["2024-03",1027.588,346.33,8786.5390000000007,2192.3429999999998,1807.8240000000001,255.5,0,1789.626,0,21323.767]
["2024-02",1029.9880000000001,346.33,8728.5239999999994,2192.3429999999998,1807.8240000000001,255.5,0,1795.366,0,21282.091999999997]
["2024-01",1029.9880000000001,346.33,8677.6270000000004,2192.3429999999998,1807.8240000000001,255.5,0,1795.366,0,21234.895]
["2023-12",1029.6880000000001,346.33,8556.7250000000004,2151.9929999999999,1807.8240000000001,255.5,0,1794.4460000000001,0,21072.423000000003]
["2023-11",1029.6880000000001,346.33,8447.0619999999999,2151.9929999999999,1807.8240000000001,255.5,0,1796.346,0,20964.66]
["2023-10",1026.6880000000001,346.33,8376.2180000000008,1991.713,1807.8240000000001,255.5,0,1795.2809999999999,0,20729.470999999998]
["2023-09",1011.248,346.33,8269.7070000000003,1941.3130000000001,1802.8240000000001,255.5,0,1795.2809999999999,0,20533.120000000003]
["2023-08",942.24800000000005,346.33,8184.1369999999997,1932.1130000000001,1802.8240000000001,255.5,0,1795.2809999999999,0,20369.97]
["2023-07",942.24800000000005,346.33,8074.7849999999999,1932.1130000000001,1802.8240000000001,255.5,0,1795.2809999999999,0,20254.417999999998]
["2023-06",945.64800000000002,346.33,7658.03,1935.5229999999999,1803.0240000000001,255.5,0,1793.646,0,19845.137999999999]
["2023-05",910.84799999999996,346.33,7606.4380000000001,1935.5229999999999,1803.0240000000001,255.5,0,1796.827,0,19764.427]
["2023-04",910.84799999999996,346.33,7517.4359999999997,1935.5229999999999,1803.0240000000001,255.5,0,1798.7170000000001,0,19677.315000000002]
["2023-03",892.36800000000005,346.33,7440.2889999999998,1935.5229999999999,1803.0240000000001,255.5,0,1801.1170000000002,0,19584.088]
["2023-02",872.56799999999998,346.33,7355.8739999999998,1934.2329999999999,1803.0240000000001,255.5,0,1791.1670000000001,0,19049.262999999999]
["2023-01",866.86800000000005,346.33,7310.2209999999995,1934.2329999999999,1803.0240000000001,255.5,0,1791.1670000000001,0,18997.91]
["2022-12",871.86800000000005,346.33,6946.4570000000003,1934.2329999999999,1803.0240000000001,255.5,0,1787.067,0,18635.046000000002]
["2022-11",871.86800000000005,346.33,6789.7430000000004,1798.5329999999999,1803.0240000000001,255.5,0,1787.067,0,18342.632000000001]
["2022-10",860.06799999999998,346.33,6720.0860000000002,1774.5329999999999,1803.0240000000001,255.5,0,1787.356,0,18237.464]
["2022-09",843.06799999999998,346.33,6658.8770000000004,1774.5329999999999,1803.0240000000001,255.5,0,1787.356,0,18159.255000000001]
["2022-08",825.66800000000001,346.33,6493.7380000000003,1753.5329999999999,1803.0240000000001,255.5,0,1787.356,0,17955.716]
["2022-07",809.82799999999997,346.33,6360.1559999999999,1753.5329999999999,1803.0240000000001,255.5,0,1744.356,0,17763.294000000002]
["2022-06",800.22799999999995,346.33,6290.1909999999998,1753.5329999999999,1802.9440000000002,255.5,0,1744.356,0,17683.649000000001]
["2022-05",800.22799999999995,346.33,6270.92,1753.5329999999999,1811.1420000000001,255.5,0,1744.356,0,17672.576000000001]
["2022-04",800.22799999999995,346.33,6202.1260000000002,1734.7329999999999,1811.1420000000001,255.5,0,1744.356,0,17584.982]
["2022-03",787.90800000000002,346.33,6144.6540000000005,1726.7329999999999,1811.1420000000001,255.5,0,1744.356,0,17507.190000000002]
["2022-02",783.70799999999997,346.33,6084.4589999999998,1726.7329999999999,1811.1420000000001,255.5,0,1434.356,0,17129.895]
["2022-01",768.70799999999997,346.33,5929.75,1726.7329999999999,1811.1420000000001,255.5,0,1434.356,0,16960.186000000002]
["2021-12",776.70799999999997,346.33,5787.5959999999995,1726.7329999999999,1814.1420000000001,255.5,0,1433.896,0,16828.572]
["2021-11",776.70799999999997,346.33,5537.3770000000004,1707.933,1814.1420000000001,255.5,0,1433.896,0,16558.453000000005]
["2021-10",750.74800000000005,346.33,5430.35,1707.933,1814.1420000000001,255.5,0,1433.896,0,16425.466000000004]
["2021-09",735.74800000000005,346.33,5191.4449999999997,1707.933,1815.1420000000001,255.5,0,1433.896,0,16172.561000000002]
["2021-08",735.74800000000005,346.33,5189.6109999999999,1707.933,1810.1420000000001,255.5,0,1433.896,0,16165.727000000003]
["2021-07",700.94799999999998,346.33,5113.6819999999998,1691.933,1810.1420000000001,255.5,0,1333.8960000000002,0,15854.978000000003]
["2021-06",700.94799999999998,346.33,5031.0569999999998,1691.933,1810.1420000000001,255.5,0,1333.8960000000002,0,15772.353000000003]
["2021-05",674.76800000000003,346.33,4954.4949999999999,1691.933,1807.556,255.5,0,1333.8960000000002,0,15662.225000000002]
["2021-04",674.76800000000003,346.33,4897.3109999999997,1691.933,1802.556,255.5,0,1333.296,0,15599.440999999999]
["2021-03",674.76800000000003,346.33,4834.0879999999997,1691.933,1797.556,255.5,0,1348.9369999999999,0,15546.859]
["2021-02",673.82799999999997,346.33,4749.8029999999999,1691.933,1797.556,255.5,0,1351.0529999999999,0,15463.75]
["2021-01",654.02800000000002,346.33,4680.7259999999997,1653.133,1797.684,255.5,0,1351.0529999999999,0,15335.706]
["2020-12",604.30799999999999,346.33,4645.7619999999997,1642.3330000000001,1797.684,255.5,0,1351.0529999999999,0,15240.222]
["2020-11",600.64800000000002,346.33,4485.509,1642.3330000000001,1797.357,255.5,0,1346.453,0,15064.682000000001]
["2020-10",603.048,346.33,4358.0219999999999,1621.3330000000001,1797.357,255.5,0,1346.453,0,14918.595000000001]
["2020-09",602.048,346.33,4319.6490000000003,1621.3330000000001,1797.357,255.5,0,1246.7529999999999,0,14770.022000000001]
["2020-08",561.46799999999996,346.33,4264.22,1578.133,1797.357,255.5,0,1141.7529999999999,0,14525.813000000002]
["2020-07",572.66800000000001,346.33,4239.8389999999999,1578.133,1797.07,255.5,0,1141.258,0,14511.849999999999]
["2020-06",549.56799999999998,346.33,4203.1170000000002,1575.133,1797.07,255.5,0,940.41300000000001,0,14238.283000000001]
["2020-05",530.53,346.33,3878.6689999999999,1563.5830000000001,1797.07,255.5,0,939.30099999999993,0,13882.134999999998]
["2020-04",530.53,346.33,3755.5650000000001,1562.173,1797.07,255.5,0,898.82399999999996,0,13717.144]
["2020-03",510.73,346.33,3706.89,1562.173,1794.94,255.5,0,889.41899999999998,0,13627.134]
["2020-02",485.69,346.33,3665.9290000000001,1562.173,1794.94,255.5,0,889.41899999999998,0,13558.233000000002]
["2020-01",485.69,346.33,3516.15,1562.173,1794.94,255.5,0,894.61899999999991,0,13416.154]
["2019-12",479.91,346.33,3394.0889999999999,1562.173,1794.94,255.5,0,894.61899999999991,0,13269.113000000001]
["2019-11",449.55,346.33,3235.7820000000002,1562.8330000000001,1794.94,255.5,0,894.61899999999991,0,13081.106]
["2019-10",444.57,346.33,3184.6909999999998,1562.8330000000001,1791.038,255.5,0,889.61899999999991,0,13003.993]
["2019-09",443.67,346.33,3136.998,1537.633,1791.038,255.5,0,889.61899999999991,4515.3119999999999,12916.1]
["2019-08",423.43,346.33,3101.36,1481.308,1791.038,255.5,0,880.94900000000007,3281.422,11561.337]
["2019-07",423.43,346.33,3052.7739999999999,1481.308,1790.9880000000001,255.5,0,881.84900000000005,3282.3220000000001,11514.501]
["2019-06",373.27,346.33,2995.0549999999998,1421.308,1790.9880000000001,255,0,781.84900000000005,3278.3719999999998,11242.171999999999]
["2019-05",373.27,346.33,2851.931,1421.308,1788.588,255,0,781.09900000000005,3278.3719999999998,11095.897999999999]
["2019-04",363.59,346.33,2811.8780000000002,1421.308,1788.588,255,0,706.09900000000005,3278.3719999999998,10971.164999999999]
["2019-03",363.59,346.33,2777.6329999999998,1421.308,1788.588,255,0,704.75700000000006,3278.3719999999998,10935.578]
["2019-02",363.59,346.33,2729.9380000000001,1421.308,1788.588,255,0,529.75700000000006,3278.3719999999998,10712.883]
["2019-01",345.11,346.33,2687.2779999999998,1422.7180000000001,1788.588,255,0,529.75700000000006,3275.7719999999999,10650.553]
["2018-12",345.11,346.33,2626.9580000000001,1422.7180000000001,1788.588,255,0,529.75700000000006,3275.7719999999999,10590.233]
["2018-11",345.11,346.33,2565.89,1418.518,1785.588,255,0,529.75700000000006,3274.6219999999998,10520.814999999999]
["2018-10",323.99,346.33,2517.54,1416.2180000000001,1785.588,255,0,529.75700000000006,3271.8719999999998,10446.294999999998]
["2018-09",294.2,346.33,2485.5569999999998,1399.318,1782.088,255,0,529.26199999999994,3259.2219999999998,10350.976999999999]
["2018-08",294.2,346.33,2445.6819999999998,1284.7180000000001,1785.3879999999999,255,0,529.06700000000001,3259.2219999999998,10199.607]
["2018-07",294.2,346.33,2398.3829999999998,1282.4179999999999,1785.3879999999999,255,0,529.06700000000001,3259.2219999999998,10150.007999999998]
["2018-06",294.2,346.33,2302.4899999999998,1282.4179999999999,1785.3879999999999,255,0,528.94800000000009,3255.2219999999998,10049.995999999999]
["2018-05",294.2,346.33,2253.0749999999998,1282.4179999999999,1785.3879999999999,255,0,528.64800000000002,3255.2219999999998,10000.280999999999]
["2018-04",277.48,346.33,2197.7759999999998,1281.6679999999999,1785.3879999999999,255,0,528.94800000000009,3253.422,9926.0120000000006]
["2018-03",257.48,346.33,2177.692,1281.6679999999999,1785.3879999999999,255,0,528.94800000000009,3253.422,9885.9279999999999]
["2018-02",257.04000000000002,346.33,2135.1799999999998,1281.6679999999999,1785.3579999999999,255,0,528.40800000000002,3253.422,9842.4060000000009]
["2018-01",251.76,346.33,2111.1309999999999,1265.8779999999999,1785.3579999999999,255,0,528.40800000000002,3253.422,9797.2870000000003]
["2017-12",251.76,346.33,2042.0609999999999,1233.6780000000001,1785.24,255,0,529.95800000000008,3249.5219999999999,9693.5489999999991]
["2017-11",246.04,346.33,1927.521,1188.778,1783.74,255,0,486.75800000000004,3252.8689999999997,9487.0360000000001]
["2017-10",238.56,346.33,1888.9179999999999,1188.778,1783.74,255,0,486.56800000000004,3210.9690000000001,9398.8630000000012]
["2017-09",235.92,346.33,1876.9559999999999,1160.028,1783.74,255,0,486.56800000000004,3209.1689999999999,9353.7109999999993]
["2017-08",235.92,346.33,1876.9559999999999,1160.028,1783.74,255,0,486.56800000000004,3209.1689999999999,9353.7109999999993]
["2017-07",235.92,346.33,1843.7339999999999,1079.4280000000001,1780.99,255,0,486.07300000000004,3178.0789999999997,9205.5540000000001]
["2017-06",235.92,346.33,1811.9369999999999,1076.1279999999999,1780.99,255,0,486.07300000000004,3177.279,9169.6569999999992]
["2017-05",235.92,346.33,1776.296,1076.1279999999999,1780.94,255,0,485.08300000000003,3177.279,9132.9759999999987]
["2017-04",235.92,346.33,1732.915,1076.1279999999999,1780.94,255,0,485.08300000000003,3177.279,9089.5949999999993]
["2017-03",235.92,346.33,1690.298,1076.1279999999999,1780.94,255,0,355.584,3177.279,8917.4789999999994]
["2017-02",214.52,346.33,1627.9690000000001,1076.1279999999999,1781.94,255,0,355.584,3174.8289999999997,8832.2999999999993]
["2017-01",214.52,346.33,1618.231,1076.1279999999999,1781.94,255,0,354.48400000000004,3176.6289999999999,8823.2619999999988]
["2016-12",214.52,380.7,1597.8230000000001,1048.048,1781.94,255,0,353.43399999999997,3191.2640000000001,8822.7289999999994]
["2016-11",214.52,380.7,1597.8230000000001,1048.048,1781.94,255,0,353.43399999999997,3191.2640000000001,8822.7289999999994]
["2016-10",179.12,380.7,1474.732,1017.838,1781.86,255,0,315.51,3191.2640000000001,8596.0240000000013]
["2016-09",179.12,380.7,1464.5840000000001,968.78800000000001,1776.86,255,0,313.06,3191.2640000000001,8529.3760000000002]
["2016-08",179.12,380.7,1440.9110000000001,938.78800000000001,1776.86,255,0,274.15999999999997,3200.9639999999999,8446.5030000000006]
["2016-07",179.12,380.7,1427.3019999999999,936.78800000000001,1771.86,255,0,269.16000000000003,3200.9639999999999,8420.8940000000002]
["2016-06",173.4,380.7,1412.3150000000001,915.78800000000001,1769.4099999999999,255,0,270.61,3192.4639999999999,8369.6869999999999]
["2016-05",173.4,380.7,1397.194,895.48800000000006,1767.45,255,0,270.61,3192.4639999999999,8332.3060000000005]
["2016-04",175.8,380.7,1385.741,895.48800000000006,1767.1,255,0,270.61,4196.5640000000003,9327.0030000000006]
["2016-03",170.8,380.7,1377.1949999999999,876.73800000000006,1766.74,255,0,269.36,4193.7640000000001,9290.2969999999987]
["2016-02",170.8,380.7,1357.492,876.73800000000006,1766.74,255,0,269.36,4223.2640000000001,9300.094000000001]
["2016-01",170.8,380.7,1347.489,876.73800000000006,1766.74,255,0,269.36,4223.2640000000001,9290.0910000000003]
["2015-12",170.8,380.7,1324.682,846.73800000000006,1761.74,255,0,268.86,4223.2640000000001,9231.7839999999997]
["2015-11",170.8,380.7,1281.2270000000001,832.73800000000006,1761.74,255,0,266.71800000000002,4223.2640000000001,9172.1869999999999]
["2015-10",170.8,380.7,1268.663,812.08799999999997,1761.74,255,0,266.71800000000002,4223.2640000000001,9138.973]
["2015-09",164.8,0,1259.6400000000001,814.52,1761.62,255,0,646.923,4224.9839999999995,9127.4869999999992]
["2015-08",164.8,0,1244.0219999999999,814.52099999999996,1761.62,255,0,646.923,4224.9839999999995,9111.869999999999]
["2015-07",164.8,0,1234.511,814.52099999999996,1761.62,255,0,496.423,4224.9839999999995,8951.8590000000004]
["2015-06",164.8,0,1174.566,807.12099999999998,1761.62,255,0,496.423,4226.1839999999993,8885.7139999999999]
["2015-05",164.8,0,1142.133,747.721,1761.02,255,0,501.923,4224.3089999999993,8796.905999999999]
["2015-04",164.8,0,1118.394,677.721,1761.02,255,0,395.12299999999999,4222.5889999999999,8594.646999999999]
["2015-03",164.8,0,1105.338,647.721,1761.02,255,0,162.393,4212.5889999999999,8308.8610000000008]
["2015-02",164.8,0,1074.1420000000001,647.721,1758.68,255,0,158.33299999999997,4196.0889999999999,8254.7649999999994]
["2015-01",164.8,0,1062.8510000000001,645.42100000000005,1758.68,255,0,155.38299999999998,4196.0889999999999,8238.2240000000002]