{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["Sheet1","Sheet2"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":12,"n_cols":9,"rows_kept":12,"cut":false,"hidden":false,"merged":[[1,0,1,8],[3,0,4,0],[3,1,3,2],[3,3,3,7],[3,8,4,8]]}
[]
["1. 신에너지 및 재생에너지 개발·이용·보급 촉진법에 따른 신재생에너지 설비용량"]
[{"$nulls":8},"[단위 : MW]"]
["년월","신에너지",null,"재생에너지",{"$nulls":4},"합계"]
[null,"연료전지","IGCC","태양에너지","풍력","수력","해양에너지","바이오에너지"]
["2026-05-01",1464.3519999999996,346.33,32414.202344098769,2470.4716999999996,1815.6664000000001,254.58,1843.4212,40609.023644098772]
["2026-04-01",1454.6719999999996,346.33,32130.811658084829,2470.4716999999996,1815.6664000000001,254.58,1843.4212,40315.952958084832]
["2026-03-01",1329.3819999999998,346.33,31838.46000308606,2470.4716999999996,1815.6794,254.58,1843.4212,39898.324303086061]
["2026-02-01",1326.7419999999997,346.33,31430.312883087536,2454.8716999999997,1815.5444,254.58,1843.4212,39471.802183087537]
["2026-01-01",1297.2619999999997,346.33,31265.414023087535,2454.8716999999997,1815.5444,254.58,1843.4212,39277.423323087525]
[]
["* '26년 1월 부로 전력통계정보시스템(EPSIS) 설비용량 데이터 기준으로 작성"]

{"sheet":"Sheet2","index":1,"n_rows":13,"n_cols":5,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[null,null,"기존","변경","비고"]
[null,null,"연료전지","연료전지","유지"]
[null,null,"IGCC","IGCC","유지"]
[null,null,"태양에너지","태양에너지","유지"]
[null,null,"풍력","풍력","유지"]
[null,null,"수력","수력","유지"]
[null,null,"해양에너지","해양에너지","유지"]
[null,null,"급전가능재생에너지","-","삭제"]
[null,null,"바이오에너지","바이오에너지","유지"]
[null,null,"폐기물","-","삭제"]