{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["정리"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"정리","index":0,"n_rows":27,"n_cols":10,"rows_kept":27,"cut":false,"hidden":false,"merged":[[2,0,4,0],[2,1,2,2],[2,3,2,8],[2,9,4,9],[3,2,4,2],[3,4,4,4],[3,5,4,5],[3,1,4,1],[3,3,4,3],[3,6,4,6],[3,7,4,7],[3,8,4,8]]}
["아. 신에너지 및 재생에너지 전력거래량"]
[{"$nulls":9},"(단위 : MWh)"]
["년월","신에너지",null,"재생에너지",{"$nulls":5},"합계"]
[null,"연료전지","IGCC","태양\n에너지","풍력","수력","해양\n에너지","바이오\n에너지","폐기물"]
[]
["201610",94957.276551999981,60457.124000000003,117880.99646399995,125845.72351799997,173499.87392499996,43297.839864000001,139101.76356300001,820099.63965300017,1575140.2375390001]
["201609",92764.108686000051,2.128E-2,133223.03629400011,69805.656128000002,199282.17941799999,42748.810775999998,117314.319695,852726.71214800014,1507864.8444250003]
["201608",90477.426362000027,88296.585439999995,196918.9020409997,74467.668168999982,276676.80137500004,43299.139799999997,136505.504877,893238.8213259998,1799880.8493899996]
["201607",91879.810104999997,25895.638719999999,165927.72448700023,83916.194077000007,600145.45033100015,41497.263864,130918.27098,799794.641451,1939974.9940150003]
["201606",87430.141528999986,1004.23008,167090.46423700009,67010.973204000009,286607.40276800003,40012.926575999998,111255.080747,691612.79151600017,1452024.0106570001]
["201605",86216.572574000034,0.37519999999999998,206291.47520899997,132055.75741900006,343744.20682699996,40900.124327999998,95320.099470999994,810825.89501500002,1715354.5060430001]
["201604",90393.193183999989,0,172411.33707600023,132824.10990600006,223638.49387900002,40022.436048000003,123168.128042,836666.07844299986,1619123.776578]
["201603",95735.152447999993,0,178887.07053700002,143816.530925,150152.70844000002,42054.282312000003,127563.546929,781601.82965099975,1519811.1212419998]
["201602",88957.41439999998,17.956959999999999,135110.62321499985,212842.26832300003,85312.992661999975,40435.258752000002,116930.98840999999,754788.11839299987,1434395.6211149998]
["201601",92669.146800999981,0.52248000000000006,96874.67928099983,214434.15887699998,91844.659091999987,40428.082463999999,106837.66791799999,840243.53738999995,1483332.4543029997]
["201512",95175.337615000011,0,86818.283500999911,170721.35688400004,82514.333476999993,41739.938016,84073.796247999999,903293.59710599994,{"$f":"SUM(B16:I16)","v":1464336.6428469999}]
["201511",90653.392634999982,0,66448.228058000022,121975.40807400002,91776.580687000009,41351.59476,117565.39879000001,810883.64823500009,{"$f":"SUM(B17:I17)","v":1340654.2512390001}]
["201510",89487.067218999975,0,152964.14628900008,128942.98590500001,129661.317471,44946.450696,126292.36410599999,877763.27842999983,{"$f":"SUM(B18:I18)","v":1550057.6101159998}]
["201509",86770.039148000011,367.00943999999998,153481.57374699996,67718.074438000011,136032.56572499999,42239.943983999998,109559.748873,864980.03570300015,1461148.9910580001]
["201508",86715.214643999992,82.390559999999994,151266.88012500003,64300.94984500001,155935.23850400001,42961.173527999999,125596.67895699997,861893.75193000003,1488752.2780929999]
["201507",89353.773014000006,20.565999999999999,137720.49235400013,95988.467577000003,204310.679905,41513.80128,119559.12734600001,825151.01341700018,1513617.9208930004]
["201506",86370.709731999974,19.211359999999999,137680.08701699987,53959.587707999985,217078.51372199997,39245.492928000007,102391.809763,836389.58217299997,1473134.994403]
["201505",89609.609179000021,1789.5578399999999,177396.52469699981,96672.657540999993,281098.68676200003,41118.988272000002,77383.981086,776321.33828399994,1541391.3436609998]
["201504",87762.546120000014,362.36367999999999,125115.82219899994,106842.24633399998,230794.57289499999,38177.704080000003,55153.451968999994,820756.97322000004,1464965.680497]
["201503",91688.160981000023,0,155346.33806900022,130759.59420699999,194704.47740699997,41582.312184000002,28459.379718000004,857988.87968300004,1500529.1422490003]
["201502",83424.259104999976,0,98063.715433000005,136770.82345500003,182436.63131800003,39945.373943999999,36731.798299999995,737726.07131199993,1315098.6728670001]
["201501",90830.169317000007,0,90761.265426999918,157511.58475299997,200622.16740400001,41530.780535999998,55986.940599000001,875548.39171400003,1512791.2997499998]