{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["유효접지관련자료"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"유효접지관련자료","index":0,"n_rows":15,"n_cols":37,"rows_kept":15,"cut":false,"hidden":false,"merged":[[0,0,0,24],[1,16,2,18],[1,13,2,15],[1,9,3,9],[1,8,3,8],[1,7,3,7],[1,19,1,24],[2,19,2,20],[2,21,2,22],[2,23,2,24],[1,10,2,12],[1,2,1,5],[2,2,2,3],[1,6,3,6],[1,1,3,1],[1,0,3,0],[2,4,2,5],[4,0,10,0],[4,1,10,1],[4,2,10,2],[4,3,10,3],[4,4,10,4],[4,5,10,5],[11,33,11,34],[11,35,11,36],[1,25,1,27],[2,26,2,27],[1,28,1,36],[2,28,3,28],[2,30,3,30],[2,36,3,36],[2,29,3,29],[2,35,3,35],[2,31,2,34]]}
["송전선로, 변압기 현황"]
["사업자명","한전연계\n변전소명","송전선로임피던스(%Z)",null,null,null,"변압기","제작사","중성점\nBIL(kV)","접지현황","정격용량(MVA)",null,null,"정격전압(kV)",null,null,"변압기 결선",null,null,"%IMP/ 변압기 기준용량",{"$nulls":5},"승압변압기",null,null,"발전기"]
[null,null,"정상분",null,"영상분",{"$nulls":14},"1-2차",null,"2-3차",null,"1-3차",null,"연계발전기","%IMP/ 기준용량",null,"번호","전압(kV)","용량(kW)","임피던스(%)",null,null,null,"연료","운전현황"]
[null,null,"R","X","R0","X0",{"$nulls":4},"OA","FA1","FA2","1차","2차","3차","1차","2차","3차","%IMP","용량(MW)","%IMP","용량(MW)","%IMP","용량(MW)",null,"%IMP","용량(MW)",null,null,null,"Xd'","Xd\"","X2","Xo"]
["사업자 변전소 명","한전연계\n변전소명",{"$nulls":4},"#1Bank","효성",350,"비접지",30,null,null,154,6.6,null,"Y","△",null,11.63,30]
[]
[]
[]
[]
[]
[]
[{"$nulls":28},"선로임피던스자료(%임피던스)",{"$nulls":4},"정상분",null,"영상분"]
[{"$nulls":33},"R","X","R","            X"]
[{"$nulls":28},"T/L","A S/S~B S/S",null,null,null,0.152,1.5309999999999999,0.78600000000000003,3.4910000000000001]
[{"$nulls":33},0.34499999999999997,2.4940000000000002,1.4446000000000001,6.2946]