{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["powerSource_20251031"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"powerSource_20251031","index":0,"n_rows":275,"n_cols":14,"rows_kept":275,"cut":false,"hidden":false,"merged":[[0,0,0,13]]}
["발전원별실시간전력수급현황"]
["날짜","시간","태양광(BTM,추정)","태양광(PPA,추정)","태양광(전력시장)","양수","수력","가스","풍력","신재생","유류","국내탄","유연탄","원자력"]
["2025-10-31","00:00",0.0,0.0,0.0,0.0,700.288,18145.1,74.2299,3375.16,272.543,169.619,19668.3,17672.7]
["2025-10-31","00:05",0.0,0.0,0.0,0.0,745.084,17880.7,77.5023,3384.64,273.296,169.381,19812.1,17650.7]
["2025-10-31","00:10",0.0,0.0,0.0,0.0,742.85,17465.6,76.6799,3413.51,272.905,169.125,19749.3,17660.5]
["2025-10-31","00:15",0.0,0.0,0.0,0.0,736.162,17013.2,78.2842,3414.81,272.942,169.711,19781.5,17642.5]
["2025-10-31","00:20",0.0,0.0,0.0,0.0,734.094,16813.2,68.1915,3474.77,273.571,168.612,19761.7,17645.0]
["2025-10-31","00:25",0.0,0.0,0.0,0.0,742.915,16544.5,74.3877,3410.54,272.326,170.37,19846.4,17674.1]
["2025-10-31","00:30",0.0,0.0,0.0,0.0,768.586,16169.9,75.1078,3430.58,272.294,169.088,19744.8,17651.4]
["2025-10-31","00:35",0.0,0.0,0.0,0.0,768.209,15974.8,77.8769,3402.92,272.384,171.341,19832.1,17639.1]
["2025-10-31","00:40",0.0,0.0,0.0,0.0,762.934,15822.9,77.1248,3334.22,272.22,170.297,19814.7,17647.0]
["2025-10-31","00:45",0.0,0.0,0.0,0.0,771.808,15725.0,73.5598,3313.99,273.038,169.107,19756.3,17659.6]
["2025-10-31","00:50",0.0,0.0,0.0,0.0,776.637,15487.6,74.9135,3440.86,272.322,169.857,19853.6,17633.2]
["2025-10-31","00:55",0.0,0.0,0.0,0.0,770.7,15129.2,71.8057,3470.91,272.7,169.418,19803.9,17645.3]
["2025-10-31","01:00",0.0,0.0,0.0,0.0,775.693,14753.7,72.1634,3388.91,271.758,169.729,19792.4,17640.1]
["2025-10-31","01:05",0.0,0.0,0.0,0.0,775.938,14765.0,73.129,3377.65,272.79,169.894,19853.7,17643.0]
["2025-10-31","01:10",0.0,0.0,0.0,0.0,777.337,14721.9,74.6213,3446.88,272.252,170.022,19869.6,17629.9]
["2025-10-31","01:15",0.0,0.0,0.0,0.0,770.944,14439.6,71.4087,3436.6,272.424,170.37,19841.0,17668.8]
["2025-10-31","01:20",0.0,0.0,0.0,0.0,761.758,14203.5,71.6892,3472.17,272.314,169.894,19698.9,17637.5]
["2025-10-31","01:25",0.0,0.0,0.0,0.0,774.605,14138.6,74.4019,3485.83,273.626,169.565,19794.9,17655.2]
["2025-10-31","01:30",0.0,0.0,0.0,0.0,766.523,13971.6,75.547,3360.23,273.937,170.334,19764.3,17652.6]
["2025-10-31","01:35",0.0,0.0,0.0,0.0,769.754,13898.8,77.7015,3320.85,274.062,169.674,19865.5,17630.6]
["2025-10-31","01:40",0.0,0.0,0.0,0.0,773.795,13821.4,76.1698,3382.07,273.97,169.949,19761.1,17641.8]
["2025-10-31","01:45",0.0,0.0,0.0,0.0,768.794,13732.0,71.435,3353.52,272.514,169.601,19734.4,17662.3]
["2025-10-31","01:50",0.0,0.0,0.0,0.0,769.279,13679.3,67.3793,3436.54,272.935,169.748,19709.7,17639.3]
["2025-10-31","01:55",0.0,0.0,0.0,-33.4688,767.285,13555.9,68.4724,3404.01,272.223,169.821,19717.9,17660.4]
["2025-10-31","02:00",0.0,0.0,0.0,-267.656,776.722,13605.6,67.5365,3429.48,273.067,170.096,19658.6,17647.8]
["2025-10-31","02:05",0.0,0.0,0.0,-269.733,783.009,13647.1,65.5339,3371.8,272.872,170.059,19722.5,17658.7]
["2025-10-31","02:10",0.0,0.0,0.0,-298.093,783.129,13729.9,67.6333,3422.55,272.076,169.857,19635.8,17654.0]
["2025-10-31","02:15",0.0,0.0,0.0,-647.417,786.837,13852.0,70.6423,3437.07,272.005,171.579,19805.4,17645.7]
["2025-10-31","02:20",0.0,0.0,0.0,-652.998,781.386,13738.0,68.4432,3411.17,272.756,170.169,19756.8,17651.5]
["2025-10-31","02:25",0.0,0.0,0.0,-682.852,777.752,13657.0,67.3708,3467.72,271.941,171.011,19704.9,17648.2]
["2025-10-31","02:30",0.0,0.0,0.0,-904.693,784.005,13813.7,66.5931,3515.28,271.697,169.839,19836.5,17653.3]
["2025-10-31","02:35",0.0,0.0,0.0,-905.865,783.422,13749.0,62.6073,3409.09,272.096,170.681,19808.9,17643.0]
["2025-10-31","02:40",0.0,0.0,0.0,-907.617,772.238,13670.9,64.3089,3446.42,272.028,169.198,19678.7,17650.7]
["2025-10-31","02:45",0.0,0.0,0.0,-906.656,779.806,13682.7,64.5068,3493.49,271.931,171.011,19722.6,17631.5]
["2025-10-31","02:50",0.0,0.0,0.0,-905.842,777.871,13618.1,67.8132,3380.98,272.657,170.773,19773.2,17651.4]
["2025-10-31","02:55",0.0,0.0,0.0,-904.251,783.827,13730.8,69.5003,3370.0,272.076,169.546,19822.7,17636.7]
["2025-10-31","03:00",0.0,0.0,0.0,-905.326,778.945,13664.5,73.844,3362.14,272.592,169.748,19756.1,17657.0]
["2025-10-31","03:05",0.0,0.0,0.0,-914.229,778.929,13591.6,74.2158,3390.32,272.577,170.077,19687.4,17661.5]
["2025-10-31","03:10",0.0,0.0,0.0,-1239.05,782.83,13583.4,73.2749,3429.68,272.841,169.601,19685.1,17645.4]
["2025-10-31","03:15",0.0,0.0,0.0,-1239.39,783.134,13629.2,91.8925,3448.79,272.604,169.18,19762.8,17653.6]
["2025-10-31","03:20",0.0,0.0,0.0,-1238.44,785.175,13668.0,95.2644,3472.29,272.536,169.125,19775.1,17648.9]
["2025-10-31","03:25",0.0,0.0,0.0,-1254.94,784.45,13736.3,98.4555,3473.52,272.242,169.033,19802.7,17639.4]
["2025-10-31","03:30",0.0,0.0,0.0,-1575.21,780.695,13800.2,97.7794,3464.73,272.578,170.627,19777.4,17664.3]
["2025-10-31","03:35",0.0,0.0,0.0,-1726.05,783.783,13773.9,100.302,3470.89,272.463,170.297,19940.9,17658.5]
["2025-10-31","03:40",0.0,0.0,0.0,-1783.25,784.69,13908.5,95.1399,3402.92,272.374,169.565,19912.2,17645.4]
["2025-10-31","03:45",0.0,0.0,0.0,-1780.11,784.589,13904.8,94.4364,3404.3,272.792,169.583,19870.0,17640.2]
["2025-10-31","03:50",0.0,0.0,0.0,-1780.43,780.353,13937.7,88.7869,3424.2,272.076,169.308,19846.7,17662.6]
["2025-10-31","03:55",0.0,0.0,0.0,-1782.57,785.514,13909.3,89.3491,3450.32,272.901,169.674,19810.7,17651.0]
["2025-10-31","04:00",0.0,0.0,0.0,-1776.56,788.317,14076.8,91.0627,3389.35,272.797,168.631,19904.0,17637.9]
["2025-10-31","04:05",0.0,0.0,0.0,-1777.57,772.196,14275.3,87.6728,3339.42,273.155,168.356,19943.6,17653.2]
["2025-10-31","04:10",0.0,0.0,0.0,-1781.26,767.166,14248.9,86.0097,3457.32,273.122,169.949,19809.8,17644.8]
["2025-10-31","04:15",0.0,0.0,0.0,-1778.44,768.881,14362.5,82.685,3372.7,273.397,170.352,19895.9,17653.3]
["2025-10-31","04:20",0.0,0.0,0.0,-1777.68,767.324,14430.9,79.8615,3380.31,272.812,170.077,19863.8,17654.1]
["2025-10-31","04:25",0.0,0.0,0.0,-1780.34,760.704,14302.6,79.2422,3407.85,273.094,170.096,19848.4,17651.3]
["2025-10-31","04:30",0.0,0.0,0.0,-1777.46,765.811,14358.3,83.951,3441.25,272.2,169.143,19874.0,17670.6]
["2025-10-31","04:35",0.0,0.0,0.0,-1778.76,764.136,14568.7,86.6172,3406.74,272.84,169.033,19823.6,17659.4]
["2025-10-31","04:40",0.0,0.0,0.0,-1778.08,761.529,14465.2,90.8047,3423.93,272.654,169.125,19781.8,17647.1]
["2025-10-31","04:45",0.0,0.0,0.0,-1777.28,766.904,14375.0,82.3439,3476.48,272.814,168.869,19824.3,17664.6]
["2025-10-31","04:50",0.0,0.0,0.0,-1772.74,771.22,14473.2,86.6205,3443.89,273.503,169.235,19954.5,17636.5]
["2025-10-31","04:55",0.0,0.0,0.0,-1775.37,767.771,14719.4,86.2059,3411.68,273.689,169.125,19908.7,17663.1]
["2025-10-31","05:00",3.92821,14.3397,8.24883,-1774.79,718.723,14863.8,87.5489,3452.23,272.538,169.986,19850.8,17640.1]
["2025-10-31","05:05",4.07372,15.6554,9.55933,-1775.9,708.26,15129.0,99.3097,3426.98,272.356,169.326,19823.8,17658.6]
["2025-10-31","05:10",4.00601,15.0727,9.10252,-1776.12,712.353,15340.7,90.4224,3383.34,272.735,170.26,19807.6,17642.3]
["2025-10-31","05:15",4.1418,15.8728,9.34615,-1773.38,709.66,15506.8,86.1296,3393.75,273.206,170.462,19887.7,17630.0]
["2025-10-31","05:20",3.79699,14.3476,8.69318,-1776.07,709.416,15822.8,91.7714,3457.87,272.205,172.696,19736.8,17658.1]
["2025-10-31","05:25",3.7653,14.475,8.52625,-1772.6,708.89,15812.7,87.7532,3450.66,272.381,172.146,19773.8,17643.7]
["2025-10-31","05:30",3.5814,14.3555,8.10491,-1773.79,710.031,15817.0,87.1523,3321.86,272.781,172.86,19834.3,17659.2]
["2025-10-31","05:35",3.93709,15.1415,9.17908,-1771.54,707.459,16112.5,88.0888,3390.73,272.522,174.93,19794.8,17645.2]
["2025-10-31","05:40",4.03438,15.0614,8.88176,-1770.44,711.94,16427.0,98.3128,3378.59,271.456,174.582,19826.5,17647.3]
["2025-10-31","05:45",3.50359,13.7598,7.97133,-1746.07,706.465,16543.8,103.172,3423.1,272.178,175.497,19910.4,17652.6]
["2025-10-31","05:50",3.63037,14.3869,8.41641,-1436.82,703.879,16543.5,92.3542,3389.68,272.528,176.083,19779.6,17659.6]
["2025-10-31","05:55",3.92735,14.8021,8.60088,-1053.72,692.546,16513.2,97.6251,3353.84,271.988,176.138,19710.5,17641.6]
["2025-10-31","06:00",3.83353,14.7249,8.65219,-1056.47,709.134,16585.4,94.194,3414.27,272.592,174.765,19830.2,17663.7]
["2025-10-31","06:05",3.795,14.5118,8.70968,-856.493,714.369,17215.6,92.374,3312.73,273.28,175.039,19854.0,17641.5]
["2025-10-31","06:10",4.01762,15.8468,9.46757,-793.414,711.552,17345.8,90.4499,3339.61,272.258,174.801,19963.9,17662.3]
["2025-10-31","06:15",3.54005,13.8965,7.97706,-464.194,703.511,17497.3,94.5233,3374.14,272.869,176.083,19801.3,17633.0]
["2025-10-31","06:20",3.76357,14.345,8.35554,-205.575,711.636,17256.9,97.0291,3351.48,273.196,176.138,19842.9,17667.1]
["2025-10-31","06:25",3.93327,14.9725,9.18255,-204.431,723.33,17435.1,100.416,3359.2,272.562,175.571,19950.6,17666.1]
["2025-10-31","06:30",3.671,14.476,8.36295,-204.955,715.108,17492.4,107.331,3495.34,271.96,176.358,19816.1,17660.1]
["2025-10-31","06:35",3.71535,14.4112,8.56716,-204.955,715.794,17712.4,111.395,3425.67,271.646,175.754,19866.9,17640.2]
["2025-10-31","06:40",4.00184,15.1445,9.12031,-204.679,721.732,18067.1,106.622,3488.26,271.525,175.461,19919.4,17645.5]
["2025-10-31","06:45",3.42728,13.5217,7.81063,-204.624,718.454,18219.8,105.427,3401.43,272.019,175.406,19870.5,17644.9]
["2025-10-31","06:50",4.09529,15.3724,9.41614,-204.252,723.732,18516.4,108.799,3444.25,272.733,175.571,19967.9,17657.0]
["2025-10-31","06:55",3.82226,14.7821,8.79483,-204.238,719.789,18898.4,111.595,3434.98,271.953,175.406,19910.6,17653.6]
["2025-10-31","07:00",4.14003,15.7809,8.25978,-204.21,717.933,19231.7,118.507,3451.56,272.008,175.131,19960.1,17641.3]
["2025-10-31","07:05",5.66316,21.1951,13.4814,-203.714,724.849,20067.2,119.923,3454.85,271.203,175.039,20033.3,17654.8]
["2025-10-31","07:10",8.02228,28.0629,17.9511,-203.893,722.543,20613.7,125.787,3418.24,271.307,175.131,19986.2,17656.1]
["2025-10-31","07:15",13.0128,43.4366,29.0792,0.0,716.391,20702.7,127.904,3477.6,271.61,175.369,19930.1,17657.5]
["2025-10-31","07:20",24.3864,91.6453,54.0022,0.0,721.561,20817.2,131.549,3520.98,271.822,175.461,19933.0,17665.9]
["2025-10-31","07:25",40.9689,149.12,88.487,0.0,717.626,20991.2,134.743,3505.59,272.173,174.71,19900.6,17633.7]
["2025-10-31","07:30",62.2377,221.098,131.731,0.0,716.155,21022.1,141.686,3501.06,271.691,175.387,19878.7,17658.7]
["2025-10-31","07:35",90.5343,322.437,189.66,0.0,719.829,21301.9,143.326,3501.88,271.733,174.728,20005.0,17636.1]
["2025-10-31","07:40",124.051,439.032,258.01,0.0,718.518,21359.3,145.919,3478.42,272.254,173.831,19930.6,17654.2]
["2025-10-31","07:45",162.742,574.765,343.984,0.0,719.923,21606.4,150.264,3412.75,272.349,174.728,20035.0,17640.9]
["2025-10-31","07:50",208.691,732.125,438.348,0.0,721.045,21766.3,150.796,3407.41,272.059,174.893,19948.8,17641.3]
["2025-10-31","07:55",257.226,901.426,537.753,0.0,718.316,21480.4,153.659,3426.64,270.691,173.996,19950.3,17634.0]
["2025-10-31","08:00",313.688,1099.73,655.871,0.0,764.531,21743.9,151.203,3499.33,271.713,173.446,19837.5,17656.5]
["2025-10-31","08:05",373.459,1316.81,780.397,0.0,793.469,21809.9,148.622,3477.38,277.416,173.831,19973.4,17657.0]
["2025-10-31","08:10",440.401,1553.91,919.791,0.0,774.554,22042.6,154.286,3458.29,269.052,173.996,19854.0,17661.9]
["2025-10-31","08:15",511.681,1805.27,1066.12,0.0,755.996,21900.6,158.421,3360.92,268.115,174.252,19850.2,17640.4]
["2025-10-31","08:20",586.475,2066.24,1217.29,0.0,756.871,21916.9,156.704,3477.94,271.34,173.721,19741.0,17668.9]
["2025-10-31","08:25",662.224,2325.8,1369.16,0.0,769.847,21892.7,154.553,3459.16,265.835,173.996,19670.5,17639.6]
["2025-10-31","08:30",731.733,2564.86,1512.94,0.0,756.654,21788.7,157.024,3414.25,265.224,174.747,19726.7,17654.2]
["2025-10-31","08:35",810.597,2840.45,1673.93,0.0,759.795,21842.0,160.95,3445.18,271.193,174.069,19690.3,17643.9]
["2025-10-31","08:40",885.462,3107.83,1831.34,0.0,753.115,21575.1,170.003,3484.72,272.332,173.501,19641.4,17650.4]
["2025-10-31","08:45",970.877,3405.9,2015.77,0.0,742.929,21303.7,178.729,3447.25,270.788,173.685,19628.0,17668.3]
["2025-10-31","08:50",1060.11,3715.4,2195.47,-9.14577,744.847,21131.3,181.304,3397.12,270.248,174.161,19535.3,17661.7]
["2025-10-31","08:55",1147.4,4006.47,2353.47,-33.0875,736.578,20750.1,191.031,3395.95,270.606,174.655,19472.4,17666.5]
["2025-10-31","09:00",1235.9,4301.78,2517.88,-433.434,749.424,20664.7,209.558,3415.96,271.92,174.93,19509.4,17635.0]
["2025-10-31","09:05",1306.44,4530.49,2647.62,-432.037,701.82,20198.6,220.127,3409.68,271.101,174.618,19440.4,17657.8]
["2025-10-31","09:10",1398.13,4827.45,2830.48,-431.638,690.609,19874.3,218.988,3349.24,271.504,175.296,19303.3,17658.7]
["2025-10-31","09:15",1510.72,5190.51,3046.69,-431.798,707.882,19883.5,222.843,3381.01,270.53,174.435,19295.3,17641.8]
["2025-10-31","09:20",1614.07,5512.17,3216.57,-431.918,700.325,19529.6,227.549,3374.65,271.239,174.27,19222.8,17666.6]
["2025-10-31","09:25",1695.7,5779.02,3362.71,-429.763,693.742,19152.5,249.805,3349.37,272.0,174.582,19204.6,17645.6]
["2025-10-31","09:30",1778.74,6063.16,3538.04,-428.167,697.744,18750.1,234.269,3363.66,270.702,174.875,19200.7,17658.3]
["2025-10-31","09:35",1870.71,6360.6,3708.35,-431.319,711.691,18591.4,233.875,3391.07,270.338,174.362,19031.6,17660.8]
["2025-10-31","09:40",1951.68,6625.58,3850.19,-430.8,707.03,18434.3,243.46,3278.3,270.94,174.637,18930.4,17645.9]
["2025-10-31","09:45",2006.77,6820.39,3961.82,-432.077,723.9,17961.0,242.751,3336.22,271.063,174.948,18821.8,17649.9]
["2025-10-31","09:50",2062.02,7018.72,4079.42,-433.274,728.977,17793.3,232.756,3210.26,271.087,174.27,18635.4,17651.9]
["2025-10-31","09:55",2146.31,7291.41,4228.32,-433.554,733.943,17631.3,222.946,3301.91,271.712,173.996,17992.9,17657.1]
["2025-10-31","10:00",2226.15,7549.82,4361.66,-428.566,722.934,17303.8,222.15,3310.81,271.714,173.52,17653.7,17651.7]
["2025-10-31","10:05",2291.59,7742.12,4453.74,-429.483,745.637,17449.5,218.699,3297.92,270.899,174.069,17605.3,17650.4]
["2025-10-31","10:10",2378.42,7990.06,4593.45,-431.279,732.131,17285.2,212.783,3273.19,270.783,174.948,17442.5,17656.4]
["2025-10-31","10:15",2446.33,8189.27,4680.52,-430.002,748.5,16977.8,206.611,3013.09,271.095,172.696,17514.8,17657.0]
["2025-10-31","10:20",2553.43,8543.34,4889.91,-430.361,748.761,16894.1,200.665,2832.75,271.07,174.527,17696.3,17623.9]
["2025-10-31","10:25",2628.87,8750.21,4966.26,-430.88,751.189,16733.2,193.973,2705.99,271.525,174.801,17641.2,17652.0]
["2025-10-31","10:30",2687.86,8910.18,5041.56,-430.162,764.226,16539.3,187.061,2675.52,270.309,174.014,17609.2,17634.2]
["2025-10-31","10:35",2733.74,9045.9,5102.9,-430.561,739.151,16253.2,190.783,2638.69,270.843,173.648,17590.0,17651.9]
["2025-10-31","10:40",2768.83,9187.21,5167.57,-431.359,751.195,15814.8,195.097,2672.65,270.713,176.156,17516.4,17651.2]
["2025-10-31","10:45",2809.27,9338.69,5246.4,-429.444,757.802,15765.6,184.021,2636.8,271.296,175.094,17652.4,17649.3]
["2025-10-31","10:50",2869.28,9554.09,5351.18,-432.317,730.287,15600.6,180.168,2634.86,270.872,175.552,17372.9,17646.1]
["2025-10-31","10:55",2918.72,9764.26,5446.11,-432.356,740.477,15444.6,174.563,2658.5,270.689,174.747,17312.6,17639.7]
["2025-10-31","11:00",2943.09,9852.94,5502.23,-432.596,675.636,15278.6,169.518,2583.72,270.84,173.794,17149.5,17648.2]
["2025-10-31","11:05",2975.74,9975.1,5572.87,-445.253,659.003,14816.6,165.568,2493.87,270.693,174.637,17010.5,17655.1]
["2025-10-31","11:10",2994.37,10052.8,5632.75,-456.705,680.342,14582.1,163.115,2573.72,270.308,174.765,16881.1,17645.0]
["2025-10-31","11:15",3080.92,10306.6,5784.12,-847.674,678.777,15046.2,161.685,2501.38,250.002,174.637,16608.2,17637.2]
["2025-10-31","11:20",3145.05,10494.9,5901.44,-847.555,665.37,15337.1,169.394,2369.03,218.929,174.49,16395.0,17653.8]
["2025-10-31","11:25",3173.87,10585.0,5950.62,-849.35,650.284,15021.7,168.54,2420.01,211.375,173.923,16226.6,17655.0]
["2025-10-31","11:30",3201.29,10658.3,5981.7,-896.763,653.415,14948.4,159.782,2411.52,186.091,174.344,16094.3,17651.7]
["2025-10-31","11:35",3226.89,10728.8,6020.45,-1493.83,673.826,15189.5,157.883,2364.15,189.082,172.806,15937.2,17654.8]
["2025-10-31","11:40",3242.96,10789.9,6054.76,-1510.75,648.571,14911.3,154.267,2394.7,195.322,173.63,15624.3,17649.1]
["2025-10-31","11:45",3275.82,10904.8,6100.44,-1881.53,660.279,14983.9,148.952,2309.66,194.251,173.794,15505.4,17660.5]
["2025-10-31","11:50",3311.92,11032.4,6146.36,-2289.3,671.8,15098.7,145.448,2370.32,194.649,174.142,15270.5,17653.5]
["2025-10-31","11:55",3334.7,11123.0,6185.15,-2410.12,662.318,14994.2,128.714,2412.21,194.423,172.86,14935.4,17663.0]
["2025-10-31","12:00",3356.88,11197.0,6223.42,-2403.45,625.411,14647.7,125.988,2319.28,194.163,174.362,14777.5,17653.0]
["2025-10-31","12:05",3354.84,11188.6,6234.49,-2404.03,596.677,14305.5,127.18,2384.29,194.422,173.685,14811.8,17662.1]
["2025-10-31","12:10",3384.58,11275.2,6289.05,-2420.62,605.516,14142.5,133.244,2380.19,194.236,174.27,14957.8,17639.0]
["2025-10-31","12:15",3407.05,11340.6,6298.72,-2771.78,617.168,14410.0,127.943,2436.32,194.544,173.208,14671.7,17650.8]
["2025-10-31","12:20",3421.49,11381.9,6317.27,-2838.44,605.476,14307.2,130.001,2457.31,194.332,173.923,14646.8,17651.7]
["2025-10-31","12:25",3431.99,11418.1,6337.25,-3126.8,620.488,14461.7,125.578,2337.96,194.445,174.82,14785.1,17647.4]
["2025-10-31","12:30",3444.13,11446.6,6344.04,-3356.08,609.226,14212.8,131.136,2381.24,194.857,174.197,14731.8,17649.6]
["2025-10-31","12:35",3442.63,11448.6,6342.28,-3349.9,614.505,14388.1,135.774,2454.26,194.893,173.19,14804.0,17659.1]
["2025-10-31","12:40",3457.21,11479.2,6359.91,-3355.25,607.43,14266.9,135.095,2462.2,194.416,173.575,14676.0,17678.6]
["2025-10-31","12:45",3454.92,11464.7,6342.96,-3344.16,616.274,14427.4,134.176,2476.9,194.167,173.794,15094.0,17668.6]
["2025-10-31","12:50",3451.62,11453.2,6331.94,-3353.26,612.3,14256.5,129.998,2553.62,194.1,174.399,15240.1,17661.8]
["2025-10-31","12:55",3433.54,11419.6,6316.39,-3339.78,619.699,14581.1,127.826,2508.06,194.248,173.044,15434.8,17652.2]
["2025-10-31","13:00",3402.79,11367.3,6283.84,-3335.01,620.902,14711.1,130.988,2563.19,194.276,171.267,15724.9,17660.4]
["2025-10-31","13:05",3392.62,11322.4,6262.67,-3074.68,615.445,14883.1,132.524,2550.93,194.776,172.421,16077.9,17640.6]
["2025-10-31","13:10",3354.3,11189.7,6165.66,-2701.87,608.639,14825.5,140.571,2520.93,194.759,171.982,16290.3,17658.6]
["2025-10-31","13:15",3363.6,11222.2,6196.11,-2378.68,607.722,14926.3,140.467,2489.4,194.931,172.201,16467.1,17654.7]
["2025-10-31","13:20",3335.9,11145.8,6140.75,-2378.09,607.062,14868.6,145.786,2486.44,194.669,173.41,16687.1,17654.3]
["2025-10-31","13:25",3278.78,10992.8,6044.35,-2014.9,604.679,14826.6,151.524,2559.98,194.461,172.696,16649.4,17648.4]
["2025-10-31","13:30",3243.16,10887.6,5983.82,-2006.11,608.305,15156.4,151.672,2575.58,194.603,173.117,16865.4,17661.3]
["2025-10-31","13:35",3237.28,10847.7,5962.31,-2001.67,606.933,15607.6,155.723,2521.46,194.975,172.531,16977.8,17631.6]
["2025-10-31","13:40",3187.21,10695.1,5877.6,-1677.19,606.906,15577.8,148.689,2641.78,195.056,172.275,16759.1,17658.9]
["2025-10-31","13:45",3148.55,10555.2,5793.31,-1419.69,603.08,15596.7,146.259,2687.31,194.372,174.234,16861.6,17648.1]
["2025-10-31","13:50",3113.73,10435.1,5752.1,-1422.78,623.272,15746.4,147.96,2692.54,194.316,172.384,16842.2,17643.9]
["2025-10-31","13:55",3072.25,10305.0,5684.84,-832.072,627.765,15461.0,144.243,2803.81,194.893,173.117,16836.4,17665.8]
["2025-10-31","14:00",3016.15,10124.1,5579.79,-829.718,626.835,15668.4,147.53,2731.97,194.821,172.165,16911.8,17640.0]
["2025-10-31","14:05",2971.56,9974.9,5497.03,-828.441,626.922,15555.8,143.632,2801.47,194.878,172.018,16927.3,17644.0]
["2025-10-31","14:10",2931.79,9824.52,5403.02,-413.642,626.222,15562.8,145.345,2891.37,195.638,172.842,16928.3,17662.4]
["2025-10-31","14:15",2868.47,9614.63,5283.6,-417.672,627.244,15763.5,157.431,2871.46,195.034,172.091,16949.9,17662.3]
["2025-10-31","14:20",2836.4,9472.48,5204.16,-418.271,625.72,15828.8,153.304,2878.2,195.092,172.696,16967.7,17666.1]
["2025-10-31","14:25",2787.38,9316.12,5121.36,-418.51,626.199,16125.5,158.269,2965.42,194.322,173.721,16977.4,17655.9]
["2025-10-31","14:30",2733.84,9136.37,5028.47,-413.961,628.951,16611.8,150.941,2868.42,194.686,173.355,17169.2,17665.3]
["2025-10-31","14:35",2667.27,8917.69,4902.95,-415.757,628.503,17090.0,158.906,2919.98,194.933,173.135,17187.3,17653.1]
["2025-10-31","14:40",2610.8,8728.41,4807.38,-416.675,624.712,17250.4,151.315,2974.45,195.787,173.886,17119.5,17655.6]
["2025-10-31","14:45",2552.15,8534.16,4718.7,-417.074,625.734,17687.1,144.952,2987.11,194.278,173.648,17100.8,17664.7]
["2025-10-31","14:50",2475.9,8302.67,4595.07,-418.151,628.205,17823.5,143.752,3040.68,195.313,173.794,17083.3,17651.3]
["2025-10-31","14:55",2407.83,8083.76,4477.96,-416.675,627.02,18163.9,149.943,3052.0,195.558,172.842,17137.7,17639.0]
["2025-10-31","15:00",2337.78,7850.78,4365.1,-415.757,627.84,18358.1,144.689,3021.64,195.41,173.41,17121.9,17654.7]
["2025-10-31","15:05",2272.63,7626.4,4250.56,-416.315,639.372,18669.8,142.164,3102.91,195.04,174.234,17082.1,17639.8]
["2025-10-31","15:10",2173.18,7332.46,4097.8,-414.64,642.014,19049.6,142.683,3206.93,195.671,174.454,17157.2,17648.5]
["2025-10-31","15:15",2064.45,7004.35,3926.28,-416.675,643.561,19669.6,135.313,3109.39,195.763,175.369,17328.9,17664.8]
["2025-10-31","15:20",1972.98,6719.75,3778.75,-413.083,641.528,20216.6,141.14,3259.88,196.091,176.541,17295.4,17646.1]
["2025-10-31","15:25",1881.35,6435.23,3622.29,-412.604,642.826,20571.0,154.59,3193.64,195.798,175.809,17428.6,17634.4]
["2025-10-31","15:30",1813.91,6177.39,3474.96,-412.365,643.128,20905.2,154.339,3245.59,195.726,177.75,17510.5,17650.2]
["2025-10-31","15:35",1710.72,5854.45,3283.58,-415.477,644.205,21405.0,164.317,3225.6,195.649,177.109,17759.1,17652.0]
["2025-10-31","15:40",1627.51,5582.03,3134.93,-413.562,642.923,21884.3,178.435,3132.6,195.991,178.867,17912.0,17664.3]
["2025-10-31","15:45",1546.24,5309.04,2986.94,-415.238,640.968,22125.8,174.769,3249.59,195.391,178.043,18072.4,17650.0]
["2025-10-31","15:50",1466.96,5038.96,2839.17,-414.959,642.542,22516.5,179.523,3348.82,195.143,178.244,18339.5,17637.0]
["2025-10-31","15:55",1384.65,4760.83,2685.34,-413.083,642.082,22801.2,179.051,3318.37,195.957,178.317,18353.9,17654.8]
["2025-10-31","16:00",1303.87,4500.97,2550.36,-415.118,708.193,23180.4,176.347,3363.66,195.415,178.94,18291.2,17629.8]
["2025-10-31","16:05",1219.7,4233.68,2414.05,-412.285,727.441,23527.2,178.983,3317.2,195.389,179.141,18304.8,17661.1]
["2025-10-31","16:10",1125.19,3914.54,2243.96,-413.722,719.186,24053.6,179.134,3297.69,195.561,178.464,18343.6,17645.5]
["2025-10-31","16:15",1023.19,3570.68,2047.17,-217.0,717.885,24455.7,189.605,3388.11,195.523,178.299,18235.3,17634.3]
["2025-10-31","16:20",920.426,3225.33,1857.94,0.0,790.54,24465.8,199.016,3403.52,195.874,178.317,18408.7,17662.0]
["2025-10-31","16:25",852.925,2982.39,1725.44,0.0,798.006,24830.2,197.955,3561.05,195.435,178.793,18472.1,17650.3]
["2025-10-31","16:30",781.048,2725.32,1584.93,0.0,794.114,25176.1,196.164,3546.36,195.598,177.658,18408.8,17642.2]
["2025-10-31","16:35",701.738,2443.05,1423.93,0.0,792.598,25379.2,186.839,3509.25,196.456,177.75,18414.7,17644.7]
["2025-10-31","16:40",632.836,2191.26,1276.72,0.0,793.478,25891.9,186.488,3531.18,195.827,180.386,18382.3,17641.4]
["2025-10-31","16:45",562.056,1936.89,1124.99,0.0,794.75,26291.0,182.099,3567.18,196.776,179.837,18498.9,17631.3]
["2025-10-31","16:50",493.753,1697.2,984.387,444.044,789.499,26166.2,181.163,3510.87,196.637,179.471,18412.4,17656.1]
["2025-10-31","16:55",424.397,1452.68,843.934,722.771,790.627,25920.3,180.348,3548.58,195.689,179.05,18444.5,17647.3]
["2025-10-31","17:00",364.039,1230.86,720.982,841.36,764.343,25710.3,163.039,3538.59,196.442,180.24,18437.3,17665.9]
["2025-10-31","17:05",320.033,1075.8,635.451,1246.92,804.489,25395.4,152.537,3551.13,196.927,179.086,18356.6,17643.5]
["2025-10-31","17:10",261.609,881.383,517.153,1334.65,803.649,25390.8,158.169,3649.39,196.158,178.848,18331.0,17655.0]
["2025-10-31","17:15",220.665,718.809,442.131,1311.69,801.916,25536.7,165.759,3729.36,195.836,177.402,18381.7,17651.6]
["2025-10-31","17:20",139.838,449.314,260.185,1506.2,795.868,25557.3,177.739,4083.22,196.237,179.013,18300.8,17663.0]
["2025-10-31","17:25",97.4209,320.823,196.156,1666.78,800.899,25553.8,173.788,4069.93,195.326,178.116,18341.2,17653.8]
["2025-10-31","17:30",77.9563,251.171,162.226,1657.38,801.685,25518.8,183.198,4111.2,194.766,178.244,18265.8,17639.4]
["2025-10-31","17:35",56.259,181.882,123.624,1663.2,801.568,25568.8,188.168,4125.3,195.147,178.482,18330.2,17653.7]
["2025-10-31","17:40",42.7904,131.159,94.5522,1729.38,807.443,25976.4,192.595,4143.14,196.128,178.83,18403.4,17657.4]
["2025-10-31","17:45",31.6811,100.371,76.1294,1702.48,805.802,26051.5,199.46,4114.83,195.735,179.636,18371.4,17632.6]
["2025-10-31","17:50",24.9433,77.2731,61.0843,1673.77,801.382,25946.8,204.437,4158.63,196.299,180.35,18332.4,17644.8]
["2025-10-31","17:55",23.6032,70.2178,55.1655,1729.82,806.185,26067.9,211.703,4109.31,196.466,179.636,18420.0,17644.8]
["2025-10-31","18:00",22.4106,66.1169,52.468,1685.47,801.57,26032.7,215.976,4184.59,196.535,180.185,18302.2,17656.9]
["2025-10-31","18:05",22.0242,65.6099,52.2638,1751.62,807.454,26130.0,241.653,4242.7,196.043,179.434,18289.4,17624.7]
["2025-10-31","18:10",0.0,3.00375,11.6927,1710.18,802.896,26017.2,254.383,4224.47,196.777,178.61,18340.6,17640.2]
["2025-10-31","18:15",0.945339,11.168,6.05063,1729.33,803.573,26021.5,264.933,4245.14,195.956,178.665,18263.8,17653.4]
["2025-10-31","18:20",0.0,0.0,0.0,1872.93,810.416,25565.9,266.998,4313.91,196.709,178.702,18191.7,17636.7]
["2025-10-31","18:25",0.0,2.10816,0.0,2087.3,827.566,25551.4,259.614,4263.53,196.821,179.031,18276.5,17634.8]
["2025-10-31","18:30",0.0,0.0,0.0,1983.71,823.545,25377.7,268.17,4302.57,195.776,178.5,18217.9,17632.3]
["2025-10-31","18:35",0.0,0.0,0.0,2094.1,827.129,25269.7,260.646,4337.92,196.652,178.482,18194.4,17660.7]
["2025-10-31","18:40",0.0,0.156608,0.0,2017.45,825.366,25292.8,262.203,4276.32,196.436,178.372,18346.7,17640.9]
["2025-10-31","18:45",0.0,3.02622,0.0,1979.63,818.799,25180.4,261.668,4386.11,195.662,178.775,18157.7,17647.5]
["2025-10-31","18:50",0.0,2.1355,0.0,2040.66,823.41,25027.4,254.359,4332.93,195.891,178.921,18259.9,17662.0]
["2025-10-31","18:55",0.0,1.70468,0.0,2151.81,820.802,24778.1,253.495,4257.85,196.109,178.702,18204.7,17643.1]
["2025-10-31","19:00",0.0,0.0,0.0,2135.4,862.085,24673.7,265.332,4362.42,195.974,179.123,18167.4,17661.3]
["2025-10-31","19:05",0.0,0.0,0.0,2191.76,838.469,24496.9,260.824,4320.52,196.8,179.141,18193.9,17643.4]
["2025-10-31","19:10",0.0,0.0,0.0,2150.25,836.112,24313.5,257.736,4264.79,197.738,178.61,18133.2,17646.9]
["2025-10-31","19:15",0.0,0.0,0.0,2145.69,836.871,24295.0,263.113,4301.3,196.674,179.123,18108.1,17660.2]
["2025-10-31","19:20",0.0,0.0,0.0,2151.9,837.836,24274.7,275.186,4321.0,196.544,179.214,18177.8,17643.3]
["2025-10-31","19:25",0.0,0.0,0.0,2166.11,836.622,24169.1,283.81,4369.44,196.414,178.683,18051.4,17626.7]
["2025-10-31","19:30",0.0,0.0,0.0,2142.85,837.114,24165.1,294.864,4266.08,196.514,179.636,18124.5,17642.9]
["2025-10-31","19:35",0.0,0.0,0.0,2120.17,834.202,23961.9,314.183,4268.27,196.594,179.636,18005.4,17656.2]
["2025-10-31","19:40",0.0,0.0,0.0,2115.73,835.202,23822.6,323.49,4223.81,196.71,178.5,17989.2,17645.4]
["2025-10-31","19:45",0.0,0.0,0.0,2184.25,838.451,23725.4,327.068,4219.74,196.806,178.976,18060.0,17655.9]
["2025-10-31","19:50",0.0,0.0,0.0,2146.59,835.993,23618.7,318.639,4181.5,196.944,177.566,18057.1,17634.6]
["2025-10-31","19:55",0.0,0.0,0.0,2161.78,838.015,23406.6,311.872,4158.2,196.526,178.885,18124.9,17641.6]
["2025-10-31","20:00",0.0,0.0,0.0,2111.08,834.492,23071.7,304.723,4194.52,196.189,179.269,18056.8,17650.8]
["2025-10-31","20:05",0.0,0.0,0.0,2062.5,837.445,23091.4,297.309,4118.42,196.957,179.086,17981.8,17648.5]
["2025-10-31","20:10",0.0,0.0,0.0,2098.14,838.795,23090.4,304.307,4153.05,197.594,178.995,17884.0,17646.4]
["2025-10-31","20:15",0.0,0.0,0.0,2065.83,835.467,22911.6,289.139,4200.09,197.522,179.471,17848.0,17637.6]
["2025-10-31","20:20",0.0,0.0,0.0,2185.25,840.456,22898.5,310.247,4021.34,197.339,178.83,17868.3,17666.7]
["2025-10-31","20:25",0.0,0.0,0.0,2167.58,839.424,22580.2,304.339,3985.25,197.395,178.702,17792.9,17646.4]
["2025-10-31","20:30",0.0,0.0,0.0,2105.38,837.549,22363.2,298.226,3986.52,196.547,179.709,17848.4,17638.4]
["2025-10-31","20:35",0.0,0.0,0.0,2131.74,838.2,22342.4,297.505,3942.76,196.797,179.398,17930.7,17640.9]
["2025-10-31","20:40",0.0,0.0,0.0,2109.4,839.829,22286.4,310.261,3852.54,196.929,178.409,17951.4,17654.0]
["2025-10-31","20:45",0.0,0.0,0.0,2068.7,834.651,22193.2,312.698,3895.56,197.261,179.196,17839.6,17652.7]
["2025-10-31","20:50",0.0,0.0,0.0,2145.39,792.033,22110.2,311.482,3846.97,196.647,178.5,17837.3,17645.2]
["2025-10-31","20:55",0.0,0.0,0.0,2170.39,795.323,21969.1,310.964,3738.86,195.805,178.702,17825.2,17653.7]
["2025-10-31","21:00",0.0,0.0,0.0,2136.33,794.588,21693.6,307.485,3780.98,196.699,178.83,17828.6,17657.9]
["2025-10-31","21:05",0.0,0.0,0.0,2101.11,793.199,21661.4,314.236,3754.6,196.958,178.976,17833.6,17657.3]
["2025-10-31","21:10",0.0,0.0,0.0,2136.31,794.925,21665.1,298.517,3644.07,196.859,178.336,17860.2,17649.1]
["2025-10-31","21:15",0.0,0.0,0.0,2178.14,796.076,21672.5,299.43,3670.64,196.304,178.244,17948.8,17635.2]
["2025-10-31","21:20",0.0,0.0,0.0,2086.05,794.153,21427.5,313.431,3597.38,196.833,178.574,17918.3,17660.7]
["2025-10-31","21:25",0.0,0.0,0.0,2159.22,795.607,21255.7,332.166,3504.86,197.021,178.372,17942.7,17631.3]
["2025-10-31","21:30",0.0,0.0,0.0,2118.95,793.43,20886.4,349.054,3443.99,197.197,179.141,17887.5,17656.2]
["2025-10-31","21:35",0.0,0.0,0.0,2171.92,797.801,20971.5,353.393,3408.1,196.703,179.636,17886.3,17651.8]
["2025-10-31","21:40",0.0,0.0,0.0,2167.42,795.531,20964.5,358.926,3518.72,196.579,179.727,17815.0,17632.7]
["2025-10-31","21:45",0.0,0.0,0.0,2119.94,795.427,20913.3,361.686,3517.36,196.886,179.324,17888.0,17639.0]
["2025-10-31","21:50",0.0,0.0,0.0,2121.53,795.05,20746.2,364.706,3513.13,196.738,179.086,17801.9,17640.7]
["2025-10-31","21:55",0.0,0.0,0.0,2125.38,795.41,20593.6,379.666,3490.09,197.049,178.464,17727.3,17647.9]
["2025-10-31","22:00",0.0,0.0,0.0,2169.93,756.654,20419.1,376.605,3431.55,197.343,180.075,17779.9,17650.0]
["2025-10-31","22:05",0.0,0.0,0.0,2346.75,758.896,20832.2,377.281,3358.87,196.831,179.068,18092.4,17650.3]
["2025-10-31","22:10",0.0,0.0,0.0,1960.79,755.477,21037.4,381.057,3335.21,197.495,180.002,18173.0,17668.0]
["2025-10-31","22:15",0.0,0.0,0.0,1832.62,747.33,21355.2,400.882,3306.42,197.109,179.654,18202.9,17647.9]
["2025-10-31","22:20",0.0,0.0,0.0,1743.21,744.066,21077.3,405.138,3274.32,196.741,179.874,18197.9,17661.1]
["2025-10-31","22:25",0.0,0.0,0.0,1865.37,747.434,21081.7,411.536,3218.83,196.571,179.965,18161.5,17660.9]
["2025-10-31","22:30",0.0,0.0,0.0,1840.74,705.427,20956.7,430.807,3197.62,196.776,180.112,18197.7,17640.9]
["2025-10-31","22:35",0.0,0.0,0.0,1828.32,705.132,21085.7,436.991,3182.78,196.233,180.441,18174.6,17648.8]
["2025-10-31","22:40",0.0,0.0,0.0,1852.67,704.322,20820.0,429.513,3169.26,196.466,180.148,18033.7,17651.7]